## OrderForm
RemodelCOST Estimator Order Form
First Name:
Last Name:
Company:
Address1:
Address2:
City:
State:
Zip:
Phone:
Fax:
Email:
Payment: |  | Qty | Cost | Total
Amount |  | 1 | 34 | 34
Sales Tax (CA orders)
S&H |  |  |  | 4.5
Total |  |  |  | 38.5
Payment By:
Check
Visa | No: |  | Exp:
MC | No: |  | Exp:
AMEX | No: |  | Exp:
Mail To:
CPR International, Inc.
P.O. Box 6394
Folsom, CA 95763

## QuickHelp
QUICK HELP
How can I contact CPR International, Inc, the developer of this software? | To know more about CPR International, Inc. and other construction software please visit www.cprsoft.com. Other products: JobCOST Controller, GeneralCOST Estimator, PaintCOST Estimator.
When I open RemodelCOST Estimator, why does a menu called "RemodelCOST" appear in Excel's menu bar? | In order to make our system as easy to use as possible, we added functions to the familiar existing interface, namely the Excel menu bar. The RemodelCOST menu item shall be there *only* when you are using the RemodelCost.xls file. When you leave, it will disappear from Excel's menu.
How do I start a new estimate? | Click on "Create New Estimate" from Excel's RemodelCOST menu. This will activate the RemodelCOST wizard.
Where are cost data stored in RemodelCOST Estimator? | Cost data is stored in various worksheets representing cost categories in construction. Example: General, Sitework, Foundations etc.
How can I enter or change my Overhead and Profit applications | Use OandH worksheet.
How does RemodelCOST Estimator work? | With RemodelCOST, the main estimate is created using a convenient wizard interface which goes through all cost categories allowing you to select one or more items from each category page. Subsequently you can insert additional cost items to the estimate.
When I click on a worksheet cell, Excel indicates it is protected. When I try to unprotect, Excel asks for password. Why? | This happens with the Trial version only. You should register to have full access to cost data worksheets.
Can I change the worksheet name? | Yes, you can. Right click on the label, then select Rename. Note: No spaces between words are allowed. e.g. SiteWork is OK. Site Work is NOT OK.
What does City selection do? | When you select your city from the "City" page of the wizard, RemodelCOST will apply the city index (factor) to the construction costs.
How can I change my city's index? | Open the "City" worksheet by clicking on the tab. Then edit the index (factor). Use only numerics.
What should I do if my city is not in the list? | Select a city that you believe is close in terms of costs. Alternatively, you can edit an existing entry or add your city to the list (See below).
How can I add my city to the worksheet list? | Insert a blank row where your city should appear. Then, add the information. Use a factor similar to a comparable city (See RemodelCOST Help for more on adding data to lists).
How can I add and customize data in RemodelCOST data sheets? | To add, insert a blank row where your data should appear. To edit, simply change the data by overwriting it (See RemodelCOST Help for more on adding data to lists).
After finishing with the wizard, I have more items to add to the estimate. How do I do this? | Click on "Add Item to Estimate" from the RemodelCOST menu. Then select the category. The system will then open the Lookup window to add an item to the estimate.
How can I get Help? | Click on "Show RemodelCOST Help" from the RemodelCOST menu. You can also email CPR International, Inc. at cpr@cprsoft.com for your questions.
How do I create the estimate report? | When you click on the "Finish" button of the wizard, RemodelCOST Estimator will automatically create the estimate report in the Estimate worksheet.
How can I save the estimate report? | If you save Remodelcost.xls file, the report will also be saved. But this is not a good idea. It is better to save the estimate file in a separate Excel file. To do this, select "Copy Estimate to New File" from the RemodelCOST menu. The system will open a new Excel file and copy the report into it.
How do I save the estimate report? | Switch to the newly created Excel estimate report file. Then simply use Excel's File > Save As function.
Why are item quantities are indicated as 1(one) in the report? | Because RemodelCOST does not know your takeoff quantities. These are highlighted in the report. It is essential to edit each additional item entry and change the quantity to the correct amount. Otherwise your estimate will not be complete.
Can I add rows and edit the estimate report? | Yes, you can. However, because there are built-in formulas, be careful not to erase or overwrite them.
After creating the report, can I change the parameters? | You can not change the parameters inside the report. To change parameters, you should run the wizard again.
How can I print the estimate report? | Select "Print Estimate" from the RemodelCOST menu or simply use Excel's File > Print function.
After I copy the estimate to a new file, how can I go back to RemodelCOST Estimator file? | Click on the "RemodelCost.xls" button from the Taskbar.
How can I create a price quotation based on my estimate? | Select "Create price Quotation" from the RemodelCOST menu.
How can I clear the Estimate worksheet after I have copied the estimate to a new file? | Select "Clear Estimate Worksheet" from the RemodelCOST menu. This will clear the Estimate worksheet and make it ready for your next estimate. Just be sure to copy the estimate to a new file before clearing the worksheet.
How can I enter my Authorization Code? | (For Trial edition of RemodelCOST Estimator only) Click on the "Enter Authorization Code" submenu under RemodelCOST menu. Then enter the code provided.
What happens when the trial period expires? | The system will cease to function. Even if you download the trial version again, it will not function.
How can I register online? | (For Trial version of RemodelCOST Estimator only or to register additional copies) Click on "Register Online" submenu From Excel's RemodelCOST menu. Make sure that you have an Internet connection available. Using a credit card, make the payment and immeditely download the registered edition from the Register Now site.
How can I register by mail? | (For Trial edition of RemodelCOST Estimator only or to register additional copies) Click on the OrderForm tab to open the Order worksheet. Fill out, print and mail with a check or Money Order. When received, we will call or email your Authorization Code.
How can I get program updates and how much does it cost? | Visit our website at http://www.cprsoft.com and download the RemodelCOST Estimator Trial version. When you open the program, enter the Authorization Code. This will activate RemodelCOST Estimator as the registered version. You are entitled to lifetime free updates.
I'm using the Trial version successfully. Why should I pay to register RemodelCOST Estimator anyway? | One reason is because it is only fair. If you receive value, why not make a fair payment. It will make you feel good. Other reasons are things like eliminating the time limitation, getting access permissions to edit and customize data, receiving free lifetime program and data updates, getting expert technical support from CPR international, Inc.
How can I register feedback, report bugs, suggest improvements, request quote for multiple copies, seek affiliate relationship? | Email us at: cpr@cprsoft.com

## City
Location | Factor
Average City, USA | 1
Anchorage, AK | 1.33
Birmingham, AL | 0.83
Mobile, AL | 0.83
Montgomery, AL | 0.79
Tuscaloosa, AL | 0.79
Forth Smith, AR | 0.81
Little Rock, AR | 0.82
Pine Bluff, AR | 0.81
Flagstaff, AZ | 0.9
Phoenix, AZ | 0.94
Tucson, AZ | 0.91
Yuma, AZ | 0.88
Anaheim, CA | 1.13
Bakersfield, CA | 1.09
Fresno, CA | 1.14
Oakland, CA | 1.18
Riverside, CA | 1.13
Sacramento, CA | 1.13
San Diego, CA | 1.16
San Francisco, CA | 1.35
San Jose, CA | 1.34
San Luis Obispo, CA | 1.16
Santa Barbara, CA | 1.12
Santa Rosa, CA | 1.15
Boulder, CO | 0.91
Denver, CO | 1.03
Durango, CO | 0.91
Fort Collins, CO | 0.97
Bridgeport, CT | 1.04
Hartford, CT | 1.02
Stamford, CT | 1.05
Waterbury, CT | 1.04
Washington, D.C. | 0.98
Wilmington, DE | 1.02
Jacksonville, FL | 0.85
Miami, FL | 0.87
Tampa, FL | 0.85
West Palm Beach, FL | 0.87
Atlanta, GA | 0.86
Augusta, GA | 0.78
Columbus, GA | 0.78
Savannah, GA | 0.81
Hilo, HI | 1.31
Honolulu, HI | 1.3
Council Bluffs, IA | 0.93
Davenport, IA | 0.97
Des Moines, IA | 0.96
Sioux City, IA | 0.92
Boise, ID | 0.95
Lewiston, ID | 1.06
Twin Falls, ID | 0.82
Chicago, IL | 1.15
Peoria, IL | 1.05
Springfield, IL | 1.03
Evansville, IN | 0.94
Fort Wayne, IN | 0.91
Gary, IN | 1
Indianapolis, IN | 0.98
Terre Haute, IN | 0.94
Dodge City, KS | 0.82
Topeka, KS | 0.84
Wichita, KS | 0.88
Bowling Green, KY | 0.93
Lexington, KY | 0.89
Louisville, KY | 0.96
Paducah, KY | 0.94
Baton Rouge, LA | 0.85
Lake Charles, LA | 0.84
New Orleans, LA | 0.88
Shreveport, LA | 0.8
Boston, MA | 1.17
Lowell, MA | 1.03
Marblehead, MA | 1.26
Springfield, MA | 1.02
Worcester, MA | 1.12
Annapolis, MD | 0.93
Baltimore, MD | 0.92
Hagerstown, MD | 0.89
Augusta, ME | 0.89
Lewiston, ME | 0.9
Portland, ME | 0.97
Detroit, MI | 1.04
Grand Rapids, MI | 0.91
Lansing, MI | 1
Saginaw, MI | 0.99
Minneapolis, MN | 1.13
Rochester, MN | 0.99
Saint Paul, MN | 1.08
Joplin, MO | 0.86
Kansas City, MO | 0.99
Springfield, MO | 0.85
St. Louis, MO | 0.96
Columbus, MS | 0.73
Greenwood, MS | 0.74
Jackson, MS | 0.82
Billings, MT | 0.94
Butte, MT | 0.89
Great Falls, MT | 0.93
Missoula, MT | 0.88
Memphis, TN | 0.85
Charlotte, NC | 0.78
Greensboro, NC | 0.77
Raleigh, NC | 0.78
Wilmington, NC | 0.76
Bismark, ND | 0.85
Fargo, ND | 0.86
Grand Forks, ND | 0.84
Grand Island, NE | 0.86
Lincoln, NE | 0.92
Omaha, NE | 0.93
Concord, NH | 0.93
Manchester, NH | 0.88
Nashua, NH | 0.95
Atlantic City, NJ | 1.12
Newark, NJ | 1.17
Paterson, NJ | 1.06
Summit, NJ | 1.09
Trenton, NJ | 1.1
Albuquerque, NM | 0.94
Las Cruces, NM | 0.83
Santa Fe, NM | 0.91
Carson City, NV | 0.98
Las Vegas, NV | 1.03
Reno, NV | 0.99
Albany, NY | 0.95
Binghamton, NY | 0.97
Buffalo, NY | 1.06
Kingston, NY | 1.1
Long Island, NY | 1.33
Mount Vernon, NY | 1.18
New York City, NY | 1.33
Rochester, NY | 1.01
Syracuse, NY | 0.98
White Plains, NY | 1.17
Cincinnati, OH | 1.02
Cleveland, OH | 1.01
Columbus, OH | 0.97
Toledo, OH | 0.99
Youngstown, OH | 0.97
Lawton, OK | 0.82
Oklahoma City, OK | 0.85
Shawnee, OK | 0.78
Tulsa, OK | 0.83
Eugene, OR | 1.04
Medford, OR | 1.05
Pendleton, OR | 1.02
Portland, OR | 1.07
Salem, OR | 1.01
Allentown, PA | 0.99
Bradford, PA | 1.03
Harrisburg, PA | 0.96
New Castle, PA | 1.02
Philadelphia, PA | 1.15
Pittsburgh, PA | 1.07
Newport, RI | 1
Pawtucket, RI | 0.98
Providence, RI | 1.01
Charleston, SC | 0.77
Columbia, SC | 0.78
Greenville, SC | 0.75
Aberdeen, SD | 0.86
Pierre, SD | 0.83
Rapid City, SD | 0.84
Sioux Falls, SD | 0.86
Chattanooga, TN | 0.84
Jackson, TN | 0.72
Johnson City, TN | 0.81
Knoxville, TN | 0.83
Nashville, TN | 0.88
Austin, TX | 0.81
Dallas, TX | 0.92
El Paso, TX | 0.82
Houston, TX | 0.91
Laredo, TX | 0.79
San Antonio, TX | 0.84
Tyler, TX | 0.94
Logan, UT | 0.92
Ogden, UT | 0.9
Salt Lake, UT | 0.92
Alexandria, VA | 0.95
Lynchburg, VA | 0.83
Norfolk, VA | 0.84
Richmond, VA | 0.86
Staunton, VA | 0.78
Brattleboro, VT | 0.83
Burlington, VT | 0.92
Rutland, VT | 0.91
Richland, WA | 1.01
Seattle, WA | 1.04
Spokane, WA | 0.97
Tacoma, WA | 1.03
Yakima, WA | 1
Beloit, WI | 1.01
Eau Claire, WI | 0.99
Green Bay, WI | 1.02
Madison, WI | 0.99
Milwaukee, WI | 1.05
Wausau, WI | 0.96
Charleston, WV | 0.95
Clarksburg, WV | 0.98
Morgantown, WV | 0.98
Parkersburg, WV | 0.89
Wheeling, WV | 0.94
Casper, WY | 0.88
Cheyenne, WY | 0.93
Rawlins, WY | 0.84
Rock Springs, WY | 0.86

## OH&P
Application | %
Overhead | 15
Profit | 10

## General
Costcode | Description | Unit | Cost/unit
101 | General
1012200 | Job security | Ls | 179.9
1012300 | Trip charges | Hr | 33.4
1013100 | Labor charge, skilled | Hr | 45.746
1013120 | Labor charge, general | Hr | 27.499
1013140 | Labor charge, trade | Hr | 45.746
1013160 | Supervision | Hr | 48.85
105 | Permits
1051000 | Building permit | Ea | 96
106 | Professional
1061100 | Engineer | Hr | 66.75
1061200 | Architect | Hr | 66.75
1061300 | Surveyor | Hr | 55.5
1061310 | Surveyor crew, 2 person | Day | 802.5
1061400 | Draftsman | Hr | 28.25

## SiteWork
Costcode | Description | Unit | Cost/unit
112 | Temporary Work
1123000 | Temporary repairs | Ea | 179.9
1123100 | Temporary CL fencing, 5' H | Lf | 18.05
1123200 | Temporary lighting | Lot | 360
1123300 | Temporary power | Lot | 695
1123410 | Power pole, 100 Amp | Mon | 76.25
1123430 | Power pole, 200 Amp | Mon | 97.66
1123450 | Electricity per 1000 Sf | Mon | 28.3
1123500 | Temporary plumbing | Lot | 976.6
1124100 | Temporary roof | Lot | 1285
1124200 | Temporary board up | Lot | 875
1124300 | Temporary construction | Lot | 1235
1124400 | Portable toilet | Ea | 97.65
1124400 | Temporary water, 1000 Gallons | Lot | 66.85
113 | Demolition
1131001 | Demolition | Hr | 30.84
1131101 | Foundation demo, 1'Hx2'W | Lf | 9.75
1131121 | Foundation demo, 1'Hx2'W | Lf | 9.75
1131501 | Ceiling demolition | Sf | 0.514
1131601 | Flooring demolition | Sf | 0.5654
1131701 | Framing demolition, wood | Lf | 4.369
1131801 | Plumbing demolition, fixture | Ea | 46.15
1132201 | Asbestos contaminated demolition | Sf | 3.598
1133101 | Clear and grub | Acre | 1285
1135101 | Demo wood frame house | Sf | 2.4672
1135401 | Demo masonry construction | SfFl | 5.1
1135501 | Demo reinforced masonry | SfFl | 5.75
1135601 | Demo concrete construction | SfFl | 6.95
1135701 | Demo reinforced concrete | SfFl | 7.4016
1139061 | Debris removal | Cy | 28.25
1139101 | Dumpster per load, small | Ea | 87
1139121 | Dumpster per load, medium | Ea | 257
1139151 | Dumpster per load, large | Ea | 410
117 | Excavation & Grading
1171200 | Excavation, average soil, no haul | Cy | 42
1171300 | Backfill, average soil | Cy | 12.85
1171400 | Grading, rough | Acre | 200
1171500 | Grading, fine | Acre | 284.5
119 | Content Manipulation
1191001 | Pull and reset furniture | Ea | 25.75
1191010 | Content manipulation, hourly | Hr | 31.25
1191011 | Move out house contents | SfFl | 1.25
1191021 | Move back house contents | SfFl | 1.25
1191100 | Temp storage house contents | SfFl | 1.1
1191204 | Move waterbed & reset | Ea | 77.5
1191304 | Move piano & reset | Ea | 39.25
13 | Hazardous Materials
131 | Asbestos
1311201 | Asbestos test, lab samples | Lot | 128.5
1312101 | Asbestos removal, acoustic ceiling | Sf | 3.45
1312201 | Asbestos removal, floor tile | Sf | 3.45
1312301 | Asbestos removal, drywall | Sf | 3.45
1312501 | Asbestos removal, siding | Sf | 2.25
1312701 | Asbestos removal, roofing, built-up roof | Sf | 4.25
1312801 | Asbestos removal, tank insulation | Ea | 485
1312901 | Asbestos removal, pipe insulation | Lf | 7
1312951 | Asbestos removal, stucco | Sf | 5.25

## Foundations
Costcode | Description | Unit | Cost/unit
14 | Crawl Space
1401101 | Access door, wood, remove | Ea | 7.75
1401102 | Access door, wood, repair | Ea | 36
1401104 | Access door, wood, rem & reins | Ea | 15.45
1401105 | Access door, wood | Ea | 128.75
1401106 | Access door, wood, paint | Ea | 23.175
1401107 | Access door, wood, refinish | Ea | 38.75
1401201 | Air vent, metal, remove | Ea | 1.8025
1401202 | Air vent, metal, repair | Ea | 6.695
1401203 | Air vent, metal, clean | Ea | 3.65
1401204 | Air vent, metal, rem & reins | Ea | 12.875
1401205 | Air vent, metal | Ea | 43.775
1401206 | Air vent, metal, paint | Ea | 15.45
1402103 | Deodorize crawl space | Sf | 0.25
1403105 | Plastic sheet | Sf | 0.3605
15 | Foundations, Structural
1501105 | Flatwork, trowel finish | Sf | 3.4505
1501205 | Flatwork, pebble finish | Sf | 4.15
1501305 | Cap, 2", agate & epoxy | Sf | 3.7595
1501405 | Epoxy injection | Lf | 24.95
1503601 | Liteweight concrete, remove | Sf | 1.5965
1503602 | Liteweight concrete, repair | Sf | 2.781
1503605 | Liteweight concrete | Sf | 5.1
1701101 | Masonry footing, 18"W, remove | Cf | 3.3475
1701105 | Masonry footing, 18"W | Cf | 27.5525
1701201 | Conc block foundation, 8"W, remove | Sf | 1.1
1701205 | Conc block foundation, 8"W | Sf | 4.6
1701231 | Conc block foundation, 10" , remove | Sf | 1.2978
1701235 | Conc block foundation, 10" | Sf | 5.45
1701251 | Conc block foundation, 12", remove | Sf | 2.15
1701255 | Conc block foundation, 12" | Sf | 6.35

## Structure
Costcode | Description | Unit | Cost/unit
311 | Framing, Wood
3110411 | Joist, 2x6, remove | Lf | 0.09
3110415 | Joist, 2x6 | Lf | 1
3110431 | Joist, 2x8, remove | Lf | 0.13
3110435 | Joist, 2x8 | Lf | 1.24
3110451 | Joist, 2x10, remove | Lf | 0.14
3110455 | Joist, 2x10 | Lf | 1.55
3110511 | Header, 2x6, remove | Lf | 0.13
3110515 | Header, 2x6 | Lf | 1.62
3110531 | Header, 2x8, remove | Lf | 0.13
3110535 | Header, 2x8 | Lf | 2.16
3110551 | Header, 2x10, remove | Lf | 0.15
3110555 | Header, 2x10 | Lf | 2.75
3110611 | Plates, 2x4, remove | Lf | 0.13
3110615 | Plates, 2x4 | Lf | 1.55
3110631 | Plates, 2x6, remove | Lf | 0.15
3110635 | Plates, 2x6 | Lf | 2.35
3111011 | Studs, 2x4, remove | Lf | 0.09
3111015 | Studs, 2x4 | Lf | 0.1
3111031 | Studs, 2x6, remove | Lf | 0.13
3111035 | Studs, 2x6 | Lf | 1
3111201 | Furring, 1x2, remove | Lf | 0.06
3111205 | Furring, 1x2 | Lf | 0.65
3111311 | Stud wall, 4", 8'H, 16"oc, remove | Lf | 1.3
3111315 | Stud wall, 4", 8'H, 16"oc | Lf | 11.85
3111351 | Stud wall, 6", 8'H, 16"oc, remove | Lf | 1.39
3111355 | Stud wall, 6", 8'H, 16"oc | Lf | 13.34
3111411 | Stud wall, 4", 10'H, 16"oc, remove | Lf | 1.55
3111415 | Stud wall, 4", 10'H, 16"oc | Lf | 13.49
3111451 | Stud wall, 6", 10'H, 16" oc, remove | Lf | 1.65
3111455 | Stud wall, 6", 10'H, 16" oc | Lf | 15.35
3111511 | Wood column, 4x4, remove | Lf | 0.26
3111515 | Wood column, 4x4 | Lf | 2.21
3111531 | Wood column, 6x6, remove | Lf | 0.39
3111535 | Wood column, 6x6 | Lf | 3.24
3111611 | Stringers, 2x4, remove | Lf | 0.15
3111615 | Stringers, 2x4 | Lf | 1.55
3111631 | Stringers, 2x6, remove | Lf | 0.19
3111635 | Stringers, 2x6 | Lf | 2.35
3111711 | Rafter, 2x6, remove | Lf | 0.16
3111715 | Rafter, 2x6 | Lf | 1.36
3111731 | Rafter, 2x8, remove | Lf | 0.22
3111735 | Rafter, 2x8 | Lf | 1.61
3111811 | Sills, 2x4, remove | Lf | 0.16
3111815 | Sills, 2x4 | Lf | 1.46
3111831 | Sills, 2x6, remove | Lf | 0.22
3111835 | Sills, 2x6 | Lf | 1.62
3111851 | Sills, 2x8, remove | Lf | 0.27
3111855 | Sills, 2x8 | Lf | 1.8
3111911 | Beams, 2x6, double, remove | Lf | 0.45
3111915 | Beams, 2x6, double | Lf | 4.38
3111931 | Beams, 2x8, double, remove | Lf | 0.65
3111935 | Beams, 2x8, double | Lf | 5.15
3113111 | Ridge board, 1x6, remove | Lf | 0.16
3113115 | Ridge board, 1x6 | Lf | 1.34
3113131 | Ridge board, 2x6, remove | Lf | 0.22
3113135 | Ridge board, 2x6 | Lf | 1.46
313 | Framing, Truss
3131101 | Truss beam, remove | Lf | 0.88
3131105 | Truss beam | Lf | 7.67
3132101 | Wood truss roof, remove | SfFl | 0.29
3132105 | Wood truss roof | SfFl | 2.01
319 | Framing, Miscellaneous
3191108 | Spray and seal framing | SfFl | 0.3
3191207 | Scrape framing | Lf | 0.57
3191300 | Shoring | Ea | 46.5
5101301 | Conc block wall, 8"W, remove | Sf | 0.67
5101305 | Conc block wall, 8"W | Sf | 4.89
5101306 | Conc block wall, 8"W, paint | Sf | 1.4
5101331 | Conc block wall, 10"W, remove | Sf | 1.1
5101335 | Conc block wall, 10"W | Sf | 6.15
5101336 | Conc block wall, 10"W, paint | Sf | 1.4
5101351 | Conc block wall, 12"W, remove | Sf | 1.3
5101355 | Conc block wall, 12"W | Sf | 7.15
5101356 | Conc block wall, 12"W, paint | Sf | 1.39
5101401 | Glazed conc block, 8"W, remove | Sf | 0.98
5101405 | Glazed conc block, 8"W | Sf | 10.25
5102101 | Brick wall, 4"W, remove | Sf | 0.57
5102105 | Brick wall, 4"W | Sf | 6.75
5102131 | Brick wall, 8"W, remove | Sf | 1.13
5102135 | Brick wall, 8"W | Sf | 13
5102151 | Brick wall, 12", remove | Sf | 1.49
5102155 | Brick wall, 12" | Sf | 17.25
5102201 | Brick column, 12x12, remove | VLf | 2.32
5102205 | Brick column, 12x12 | VLf | 22.75
5102231 | Brick column, 16x16, remove | VLf | 3.6
5102235 | Brick column, 16x16 | VLf | 39.75
5102251 | Brick column, 24x24, remove | VLf | 6.15
5102255 | Brick column, 24x24 | VLf | 98.3
5102401 | Brick chimney, 16x16, remove | VLf | 5.4
5102405 | Brick chimney, 16x16 | VLf | 37.85
5102431 | Brick chimney, 20x20, remove | VLf | 4.22
5102435 | Brick chimney, 20x20 | VLf | 56.14
5102507 | Steam clean brick | Sf | 0.65
5102607 | Sandblast brick, wet | Sf | 1.8
5102701 | Brick veneer, 4", remove | Sf | 0.52
5102705 | Brick veneer, 4" | Sf | 6.95
5102801 | Brick fireplace, remove | Ea | 128.75
5102805 | Brick fireplace | Ea | 1493.5
5102831 | Fireplace box, remove | Ea | 28.35
5102835 | Fireplace box | Ea | 303.85
5102851 | Fireplace hearth, remove | Ea | 36.05
5102855 | Fireplace hearth | Ea | 319.3
5102857 | Fireplace hearth, refinish | Ea | 113.3
5103101 | Stone veneer, 4", avg, remove | Sf | 0.67
5103105 | Stone veneer, 4", avg | Sf | 17.25
5103107 | Stone veneer, 4", avg, refinish | Sf | 3.86
5105203 | Masonry acid wash | Sf | 2.52

## Exterior
Costcode | Description | Unit | Cost/unit
391 | Windows, Aluminum
3912201 | Window, alum, storm, basement, remove | Ea | 12.9
3912205 | Window, alum, storm, basement | Ea | 40.25
3912401 | Window, alum, awning, remove | Ea | 23.25
3912405 | Window, alum, awning | Ea | 304.44
3913101 | Window, alum, sliding, remove | Ea | 23.25
3913105 | Window, alum, sliding | Ea | 180.6
3913201 | Window, alum, jalousie, remove | Ea | 23.25
3913205 | Window, alum, jalousie | Ea | 190.92
3913301 | Window, alum, picture, remove | Ea | 23.25
3913305 | Window, alum, picture | Ea | 170.5
3914101 | Window, alum sash, fixed, remove | Sf | 0.98
3914105 | Window, alum sash, fixed | Sf | 11.35
3914201 | Window, alum sash, picture, remove | Sf | 0.98
3914205 | Window, alum sash, picture | Sf | 11.35
3914301 | Window, alum sash, sliding, remove | Sf | 0.98
3914305 | Window, alum sash, sliding | Sf | 13.95
392 | Windows, Wood
3921101 | Window, wood, sash, remove | Sf | 0.98
3921105 | Window, wood, sash | Sf | 17
3921106 | Window, wood, sash, paint | Sf | 2.84
3921107 | Window, wood, sash, refinish | Sf | 3.35
3921201 | Window, wood, dbl hung, 3x4, remove | Ea | 14.45
3921205 | Window, wood, dbl hung, 3x4 | Ea | 179.57
3921206 | Window, wood, dbl hung, 3x4, paint | Ea | 17.6
3921207 | Window, wood, dbl hung, 3x4, refinish | Ea | 27.35
3921301 | Window, wood, fixed, 3x4, remove | Ea | 12.38
3921305 | Window, wood, fixed, 3x4 | Ea | 132.5
3921306 | Window, wood, fixed, 3x4, paint | Ea | 16
3921307 | Window, wood, fixed, 3x4, refinish | Ea | 23.25
3921401 | Window, wood, casement, 2-3x6, remove | Ea | 41.28
3921405 | Window, wood, casement, 2-3x6 | Ea | 335.4
3921406 | Window, wood, casement, 2-3x6, paint | Ea | 27.75
3921407 | Window, wood, casement, 2-3x6, refinish | Ea | 33.15
3921501 | Window, wood, sliding, 4x3-6, remove | Ea | 15.48
3921505 | Window, wood, sliding, 4x3-6 | Ea | 170.28
3921506 | Window, wood, sliding, 4x3-6, paint | Ea | 16.5
3921507 | Window, wood, sliding, 4x3-6, refinish | Ea | 23.74
3921601 | Window, wood, picture, 3-6x4, remove | Ea | 18.15
3921605 | Window, wood, picture, 3-6x4 | Ea | 232.2
3921606 | Window, wood, picture, 3-6x4, paint | Ea | 23.22
3921607 | Window, wood, picture, 3-6x4, refinish | Ea | 25.28
3922101 | Window, wood, round, 18", remove | Ea | 16.65
3922105 | Window, wood, round, 18" | Ea | 170.28
3922106 | Window, wood, round, 18", paint | Ea | 19.35
3922107 | Window, wood, round, 18", refinish | Ea | 23.25
393 | Windows, Vinyl |  | 0
3931101 | Window, vinyl, dbl hung, 3/4, remove | Ea | 19.35
3931105 | Window, vinyl, dbl hung, 3/4 | Ea | 219.3
3931201 | Window, vinyl, casement, 2-6x5, remove | Ea | 20.64
3931205 | Window, vinyl, casement, 2-6x5 | Ea | 356.04
3931301 | Window, vinyl, sliding, 4x3-6, remove | Ea | 16.51
3931305 | Window, vinyl, sliding, 4x3-6 | Ea | 190.92
394 | Windows, Steel |  | 0
3941101 | Window, steel sash, casement, remove | Sf | 1.25
3941105 | Window, steel sash, casement | Sf | 30.44
3941106 | Window, steel sash, casement, paint | Sf | 2.84
3941301 | Window, steel sash , picture, remove | Sf | 1.25
3941305 | Window, steel sash , picture | Sf | 16
3941306 | Window, steel sash , picture, paint | Sf | 2.84
3941401 | Window, steel sash, dbl, remove | Sf | 1.44
3941405 | Window, steel sash, dbl hung | Sf | 33.8
3941405 | Window, steel sash, dbl hung, paint | Sf | 3.35
3942101 | Window, steel, dbl hung, 3x4, remove | Ea | 17
3942105 | Window, steel, dbl hung, 3x4 | Ea | 108.36
3942106 | Window, steel, dbl hung, 3x4, paint | Ea | 36.12
3971105 | Window glass, clear | Sf | 5.16
3971205 | Window glass, tinted | Sf | 5.42
3971305 | Window glass, tempered | Sf | 5.68
3971505 | Insulating glass, clear | Sf | 12.13
3971605 | Insulating glass, tinted | Sf | 14.2
3972105 | Glass block, plain, 4" thk, 6x6 | Sf | 36.64
3972205 | Glass block, plain, 4" thk, 8x8 | Sf | 26.32
3973105 | Wire glass, 1/4" thk | Sf | 10.65
3974105 | Plexiglass acrylic, 1/4" thk | Sf | 4.9
399 | Windows, Miscellaneous
3991105 | Window, screen, metal | Sf | 3.87
3991205 | Window, screen, wood | Sf | 12.05
3991305 | Window, screen, security, alum | Sf | 19.09
3991405 | Window, screen security, steel | Sf | 12.9
41 | Shutters, Awnings
4121101 | Awning, vinyl, remove | Sf | 3.1
4121103 | Awning, vinyl, clean | Sf | 3.87
4121105 | Awning, vinyl | Sf | 14.85
4121201 | Awning, aluminum, remove | Sf | 3.61
4121205 | Awning, aluminum | Sf | 35.86
4121301 | Awning, fibreglass, remove | Sf | 3.35
4121305 | Awning, fibreglass | Sf | 23.55
4121501 | Awning, canvas, remove | Sf | 3.1
4121505 | Awning, canvas | Sf | 17
4122101 | Shutters, ext, alum, remove | Pair | 11.35
4122105 | Shutters, ext, alum | Pair | 69.66
4122106 | Shutters, ext, alum, paint | Pair | 22.19
4122201 | Shutters, ext, plastic, remove | Pair | 11.35
4122205 | Shutters, ext, plastic | Pair | 56.76
4122301 | Shutters, ext, wood, remove | Pair | 11.35
4122305 | Shutters, ext, wood | Pair | 59.34
4122306 | Shutters, ext, wood, paint | Pair | 19.09
4122307 | Shutters, ext, wood, refinish | Pair | 21.25
4122401 | Shutters, ext, movable, remove | Ea | 2.84
4122405 | Shutters, ext, movable | Ea | 46.44
4122406 | Shutters, ext, movable, paint | Ea | 11.35
4122501 | Canopy, aluminum, remove | Sf | 3.65
4122505 | Canopy, aluminum | Sf | 46.44
4122601 | Canopy, fiberglass, remove | Sf | 3.65
4122605 | Canopy, fiberglass | Sf | 28.38
4122901 | Storm blinds, remove | Ea | 2.85
4122905 | Storm blinds, paint | Ea | 12.38
4122905 | Storm blinds | Ea | 49.25
551 | Roof
5510105 | Roof insul, fiberboard, 1" | Sf | 0.67
5510205 | Roof insul, fiberglas, 1" | Sf | 0.62
5511105 | Alum shingles | Sq | 263.16
5511205 | Asphalt shingles | Sq | 76.25
5511305 | Slate, 1/4" thick | Sq | 583.08
5511405 | Wood shingles, cedar | Sq | 232.2
5511455 | Composite shingles, 240 Lb | Sq | 252.84
5511505 | Roofing tile, alum | Sq | 376
5511605 | Roofing tile, clay | Sq | 482
5511705 | Roofing tile, concrete | Sq | 224
5511755 | Roof shakes, medium | Sq | 265
5511775 | Roof shakes, heavy | Sq | 295
5511805 | Corrugated aluminum | Sf | 2.25
5511905 | Corrugated asphalt | Sf | 2
5512005 | Corrugated fiberglass | Sf | 2.53
5512105 | Corrugated steel, 26 ga | Sf | 1.59
5512205 | Asbestos tile roofing | Sq | 0
5512311 | Roof deck, cedar, 3", remove | Sf | 1.08
5512314 | Roof deck, cedar, 3", rem & reins | Sf | 3.87
5512315 | Roof deck, cedar, 3" | Sf | 7.17
5512316 | Roof deck, cedar, 3", paint | Sf | 0.67
5512331 | Roof deck, redwood, 3", remove | Sf | 1.08
5512334 | Roof deck, redwood, 3", rem & reins | Sf | 3.87
5512335 | Roof deck, redwood, 3" | Sf | 11.95
5512336 | Roof deck, redwood, 3", paint | Sf | 0.77
5512411 | Roof deck, cedar, 4", remove | Sf | 1.39
5512414 | Roof deck, cedar, 4", rem & reins | Sf | 4.39
5512415 | Roof deck, cedar, 4" | Sf | 8.51
5512416 | Roof deck, cedar, 4", paint | Sf | 0.67
5512431 | Roof deck, redwood, 4", remove | Sf | 1.29
5512434 | Roof deck, redwood, 4", rem & reins | Sf | 4.39
5512435 | Roof deck, redwood, 4" | Sf | 14.2
5512436 | Roof deck, redwood, 4", paint | Sf | 0.77
5512635 | Built-up roofing, 3 ply | Sq | 114
5512645 | Built-up roofing, 4 ply | Sq | 129
5512715 | Felt roofing, 15 Lb | Sq | 7.28
5512735 | Felt roofing, 30 Lb | Sq | 10.58
5512755 | Bituminous roll, 90 Lb. | Sq | 0
5512815 | Cold-applied roofing | Sq | 24.5
5512855 | Polyurethane, spray-on, 1" | Sq | 3.15
5513105 | Roof coating, neoprene | Gal | 27.61
5513205 | Roof gravel | Sq | 27.5
5515105 | Sheathing, plywood CDX, 1/2" | Sf | 0.7
5515205 | Sheathing, plywood CDX, 5/8" | Sf | 0.88
5516105 | Roof patching, mop | Sq | 27.85
555 | Roof items
5552501 | Gravel stop, aluminum, remove | Lf | 0.77
5552505 | Gravel stop, aluminum | Lf | 5.93
5552506 | Gravel stop, aluminum, paint | Lf | 1.29
5554101 | Roof hatches, 2-6x2-6, remove | Ea | 387
5554105 | Roof hatches, 2-6x2-6 | Ea | 387
5554205 | Smoke vent, aluminum, 4'x4' | Ea | 1290
5554305 | Roof vent, PVC | Ea | 36.64
5554405 | Turbine vent | Ea | 0
5554505 | Ridge vent | Ea | 0
5554605 | Power vent | Ea | 0
5556101 | Skylight, plastic dome, remove | Sf | 15.48
5556105 | Skylight, plastic dome | Sf | 47.5
570 | Siding
5701101 | Aluminum siding, remove | Sf | 0.67
5701105 | Aluminum siding | Sf | 3.35
5701106 | Aluminum siding, paint | Sf | 1.14
5701201 | Steel siding, remove | Sf | 0.67
5701205 | Steel siding | Sf | 3.15
5701206 | Steel siding, paint | Sf | 1.14
5701301 | Vinyl siding, remove | Sf | 0.67
5701305 | Vinyl siding | Sf | 2.22
5701401 | Board siding, cedar, remove | Sf | 0.67
5701405 | Board siding, cedar | Sf | 3.87
5701406 | Board siding, cedar, paint | Sf | 1.24
5701501 | Board siding, redwood, remove | Sf | 0.67
5701505 | Board siding, redwood | Sf | 5.85
5701506 | Board siding, redwood, paint | Sf | 1.24
5701601 | Plywood siding, 1/2", remove | Sf | 0.67
5701605 | Plywood siding, 1/2" | Sf | 1.5
5701606 | Plywood siding, 1/2", paint | Sf | 1.14
5701701 | Wood shingle siding, remove | Sq | 0.77
5701705 | Wood shingle siding | Sq | 275
5701801 | Absestos siding, remove | Sf | 0.98
5701805 | Absestos siding | Sf | 3.77
5701806 | Absestos siding, paint | Sf | 1.14
5703106 | Stain siding | Sf | 0.36
5704105 | Closure strip, alum | Lf | 2.73
5704205 | Closure strip, vinyl | Lf | 1.29
5704301 | Soffit and fascia, alum, remove | Sf | 0.77
5704305 | Soffit and fascia, alum | Sf | 4.9
5704306 | Soffit and fascia, alum, paint | Sf | 1.29
5704401 | Soffit and fascia, vinyl, remove | Sf | 0.57
5704405 | Soffit and fascia, vinyl | Sf | 1.91
59 | Gutters, Downspouts, Metals
5911101 | Gutter, 5" aluminum, remove | Lf | 0.67
5911105 | Gutter, 5" aluminum | Lf | 3.87
5911106 | Gutter, 5" aluminum, paint | Lf | 1.39
5911201 | Gutter, 5" galv steel, remove | Lf | 0.67
5911205 | Gutter, 5" galv steel | Lf | 3.2
5911206 | Gutter, 5" galv steel, paint | Lf | 1.39
5911301 | Gutter, 5" copper, remove | Lf | 0.67
5911304 | Gutter, 5" copper, rem & reins | Lf | 2.55
5911305 | Gutter, 5" copper | Lf | 8
5911401 | Gutter, 5" vinyl, remove | Lf | 0.67
5911405 | Gutter, 5" vinyl | Lf | 3.1
5932101 | Downspout, 3x4 alum, remove | Lf | 0.67
5932105 | Downspout, 3x4 alum | Lf | 3.1
5932106 | Downspout, 3x4 alum, paint | Lf | 1.24
5932201 | Downspout, 3x4 galv stl, remove | Lf | 0.67
5932205 | Downspout, 3x4 galv stl | Lf | 2.84
5932206 | Downspout, 3x4 galv stl, paint | Lf | 1.24
5932301 | Downspout, 3x4 copper, remove | Lf | 0.67
5932305 | Downspout, 3x4 copper | Lf | 10.05
5932401 | Downspout, 2x3 vinyl, remove | Lf | 0.67
5932405 | Downspout, 2x3 vinyl | Lf | 2.55
5953105 | Wire strainer | Ea | 3.56
61 | Exterior Doors
6112101 | Storm door, alum, remove | Ea | 19.09
6112105 | Storm door, alum | Ea | 242.52
6112201 | Storm door, wood, remove | Ea | 19.09
6112205 | Storm door, wood | Ea | 232.2
6112206 | Storm door, wood, paint | Ea | 33.54
6112207 | Storm door, wood, refinish | Ea | 38.7
6112301 | Sliding glass door, alum, 6', remove | Opng | 56.76
6112305 | Sliding glass door, alum, 6' | Opng | 614.04
6112401 | Sliding glass door, alum, 8', remove | Opng | 67.08
6112405 | Sliding glass door, alum, 8' | Opng | 851.4
6112501 | Ext door, flush, birch, 3', remove | Ea | 12.9
6112505 | Ext door, flush, birch, 3' | Ea | 170
6112506 | Ext door, flush, birch, 3', paint | Ea | 25.8
6112507 | Ext door, flush, birch, 3', refinish | Ea | 33.54
6112601 | Ext door, panel, birch, 3', remove | Ea | 12.9
6112605 | Ext door, panel, birch, 3' | Ea | 264
6112606 | Ext door, panel, birch, 3', paint | Ea | 28.38
6112607 | Ext door, panel, birch, 3', refinish | Ea | 37.15
6112701 | Ext door, alum, 3'-6, remove | Ea | 12.9
6112705 | Ext door, alum, 3'-6 | Ea | 680
6112706 | Ext door, alum, 3'-6, paint | Ea | 24.77
6112801 | Ext door, oak, decorator, remove | Ea | 19.09
6112805 | Ext door, oak, decorator | Ea | 748.2
6112806 | Ext door, oak, decorator, paint | Ea | 46.44
6112807 | Ext door, oak, decorator, refinish | Ea | 87.72
6112901 | Ext door, wood, double, remove | Ea | 24.77
6112905 | Ext door, wood, double | Ea | 795
6112906 | Ext door, wood, double, paint | Ea | 54.18
6112907 | Ext door, wood, double, refinish | Ea | 98.04
6113101 | Ext door, 1 side panel, remove | Ea | 23.22
6113105 | Ext door, 1 side panel | Ea | 376.68
6113106 | Ext door, 1 side panel, paint | Ea | 43.85
6113107 | Ext door, 1 side panel, refinish | Ea | 54.18
6113201 | Ext door, 2 side panels, remove | Ea | 27.35
6113205 | Ext door, 2 side panels | Ea | 407.64
6113206 | Ext door, 2 side panels, paint | Ea | 46.44
6113207 | Ext door, 2 side panels, refinish | Ea | 59.34
6113501 | Screen door, wood, remove | Ea | 12.9
6113505 | Screen door, wood | Ea | 108.36
6113506 | Screen door, wood, paint | Ea | 24.75
6113601 | Screen door, alum, remove | Ea | 12.9
6113605 | Screen door, alum | Ea | 98.04
6113715 | Re-screen door | Ea | 37.67
6113735 | Re-screen full screen | Ea | 25.28
6113755 | Re-screen half screen | Ea | 20.38
6113775 | Re-screen solar screen | Sf | 3.1
6114201 | French door w/glass, 6'W, remove | Pair | 41.28
6114205 | French door w/glass, 6'W | Pair | 1109.4
6114206 | French door w/glass, 6'W, paint | Pair | 77.4
6114207 | French door w/glass, 6'W, refinish | Pair | 129
6114501 | Garage door, O/H, f/glass, 9x7, remove | Ea | 36.12
6114505 | Garage door, O/H, f/glass, 9x7 | Ea | 410
6114531 | Garage door, O/H, metal, 9x7, remove | Ea | 36.12
6114535 | Garage door, O/H, metal, 9x7 | Ea | 428
6114551 | Garage door, O/H, wood, 9x7, remove | Ea | 36.12
6114555 | Garage door, O/H, wood, 9x7 | Ea | 596
6114556 | Garage door, O/H, wood, 9x7, paint | Ea | 67.08
6114571 | Garage door, O/H, metal, 16x7, remove | Ea | 46.44
6114575 | Garage door, O/H, metal, 16x7 | Ea | 697
6114576 | Garage door, O/H, metal, 16x7, paint | Ea | 82.56
6115101 | Electric O/H garage dooor opener, remove | Ea | 25.8
6115102 | Electric O/H garage dooor opener, repair | Ea | 46.44
6115105 | Electric O/H garage dooor opener | Ea | 231.5
6115131 | O/H garage door track, remove | Ea | 18.06
6115135 | O/H garage door track | Ea | 117.5
63 | Trimwork
6311101 | Flashing, aluminum, remove | Sf | 0.36
6311105 | Flashing, aluminum | Sf | 2.84
6311106 | Flashing, aluminum, paint | Sf | 0.77
6312101 | Fascia, aluminum, remove | Sf | 0.31
6312105 | Fascia, aluminum | Sf | 4.9
6312106 | Fascia, aluminum, paint | Sf | 0.77
6312201 | Fascia, redwood, 1x6, remove | Lf | 0.26
6312205 | Fascia, redwood, 1x6 | Lf | 2.73
6312206 | Fascia, redwood, 1x6, paint | Lf | 0.46
6312207 | Fascia, redwood, 1x6, refinish | Lf | 0.67
6312231 | Fascia, redwood, 1x8, remove | Lf | 0.31
6312235 | Fascia, redwood, 1x8 | Lf | 2.84
6312236 | Fascia, redwood, 1x8, paint | Lf | 0.57
6312237 | Fascia, redwood, 1x8, refinish | Lf | 0.88
6312251 | Fascia, cedar, 1x6, remove | Lf | 0.26
6312255 | Fascia, cedar, 1x6 | Lf | 1.7
6312256 | Fascia, cedar, 1x6, paint | Lf | 0.46
6312257 | Fascia, cedar, 1x6, refinish | Lf | 0.67
6312271 | Fascia, cedar, 1x8, remove | Lf | 0.31
6312275 | Fascia, cedar, 1x8 | Lf | 1.81
6312276 | Fascia, cedar, 1x8, paint | Lf | 0.57
6312277 | Fascia, cedar, 1x8, refinish | Lf | 0.88
6313111 | Fascia, pine, 1x6, remove | Lf | 0.26
6313115 | Fascia, pine, 1x6 | Lf | 1.6
6313116 | Fascia, pine, 1x6, paint | Lf | 0.46
6313117 | Fascia, pine, 1x6, refinish | Lf | 0.67
6313131 | Fascia, pine, 1x8, remove | Lf | 0.31
6313135 | Fascia, pine, 1x8 | Lf | 1.75
6313136 | Fascia, pine, 1x8, paint | Lf | 0.57
6313137 | Fascia, pine, 1x8, refinish | Lf | 0.88
6314101 | Trim, ext, pine, 1x2, remove | Lf | 0.13
6314105 | Trim, ext, pine, 1x2 | Lf | 0.77
6314106 | Trim, ext, pine, 1x2, paint | Lf | 0.31
6314107 | Trim, ext, pine, 1x2, refinish | Lf | 0.62
6314121 | Trim, ext, pine, 1x4, remove | Lf | 0.19
6314125 | Trim, ext, pine, 1x4 | Lf | 0.88
6314126 | Trim, ext, pine, 1x4, paint | Lf | 0.41
6314127 | Trim, ext, pine, 1x4, refinish | Lf | 0.67
6314141 | Trim, ext, pine, 1x6, remove | Lf | 0.31
6314145 | Trim, ext, pine, 1x6 | Lf | 1.19
6314146 | Trim, ext, pine, 1x6, paint | Lf | 0.57
6314147 | Trim, ext, pine, 1x6, refinish | Lf | 0.88
6315161 | Trim, ext, pine, 1x8, remove | Lf | 0.31
6315165 | Trim, ext, pine, 1x8 | Lf | 1.5
6315166 | Trim, ext, pine, 1x8, paint | Lf | 0.57
6315167 | Trim, ext, pine, 1x8, refinish | Lf | 0.88
6315181 | Trim, ext, pine, 1x12, remove | Lf | 0.41
6315185 | Trim, ext, pine, 1x12 | Lf | 3.1
6315186 | Trim, ext, pine, 1x12, paint | Lf | 0.77
6315187 | Trim, ext, pine, 1x12, refinish | Lf | 0.98
6316101 | Soffit vent, cont, alum, remove | Lf | 0.46
6316105 | Soffit vent, cont, alum | Lf | 3.35
6316106 | Soffit vent, cont, alum, paint | Lf | 1.19
6316201 | Cornice, ext, pine, 1x6, remove | Lf | 0.23
6316205 | Cornice, ext, pine, 1x6 | Lf | 0.98
6316206 | Cornice, ext, pine, 1x6, paint | Lf | 0.57
6316331 | Under eave vent, alum, 16x8, remove | Ea | 1.39
6316335 | Under eave vent, alum, 16x8 | Ea | 12.75
6316336 | Under eave vent, alum, 16x8, paint | Ea | 2.53
6317101 | Soffit, plywood, 1/2", remove | Sf | 0.36
6317105 | Soffit, plywood, 1/2" | Sf | 1.91
6317106 | Soffit, plywood, 1/2", paint | Sf | 1.85
65 | Wood Decks
6504102 | Column base, concrete, repair | Ea | 23.55
6504105 | Column base, concrete | Ea | 30.9
6512101 | Decking, 1x4, redwood, remove | Sf | 0.46
6512105 | Decking, 1x4, redwood | Sf | 3.2
6512106 | Decking, 1x4, redwood, paint | Sf | 0.77
6512151 | Decking, 1x6, redwood, remove | Sf | 0.46
6512155 | Decking, 1x6, redwood | Sf | 3.25
6512156 | Decking, 1x6, redwood, paint | Sf | 0.77
6512301 | Decking, 2x4, cedar, remove | Sf | 0.62
6512305 | Decking, 2x4, cedar | Sf | 4.28
6512306 | Decking, 2x4, cedar, paint | Sf | 0.77
6512351 | Decking, 2x6, cedar, remove | Sf | 0.62
6512355 | Decking, 2x6, cedar | Sf | 4.18
6512356 | Decking, 2x6, cedar, paint | Sf | 0.77
6512401 | Decking, 2x4, redwood, remove | Sf | 0.62
6512405 | Decking, 2x4, redwood | Sf | 5.67
6512406 | Decking, 2x4, redwood, paint | Sf | 0.77
6512451 | Decking, 2x6, redwood, remove | Sf | 0.62
6512455 | Decking, 2x6, redwood | Sf | 5.62
6512456 | Decking, 2x6, redwood, paint | Sf | 0.77
6512501 | Joist, 2x8, cedar, remove | Lf | 0.46
6512505 | Joist, 2x8, cedar | Lf | 1.58
6512506 | Joist, 2x8, cedar, paint | Lf | 0.67
6512551 | Joist, 2x8, redwood, remove | Lf | 0.46
6512555 | Joist, 2x8, redwood | Lf | 1.86
6512556 | Joist, 2x8, redwood, paint | Lf | 0.67
6512601 | Joist, 2x10, cedar, remove | Lf | 0.52
6512605 | Joist, 2x10, cedar | Lf | 1.81
6512606 | Joist, 2x10, cedar, paint | Lf | 0.77
6512651 | Joist, 2x10, redwood, remove | Lf | 0.52
6512655 | Joist, 2x10, redwood | Lf | 2.23
6512656 | Joist, 2x10, redwood, paint | Lf | 0.77
6512701 | Joist, 2x12, cedar, remove | Lf | 0.62
6512705 | Joist, 2x12, cedar | Lf | 2.28
6512706 | Joist, 2x12, cedar, paint | Lf | 0.88
6512751 | Joist, 2x12, redwood, remove | Lf | 0.62
6512755 | Joist, 2x12, redwood | Lf | 2.6
6512756 | Joist, 2x12, redwood, paint | Lf | 0.88
6512801 | Post, 4x4, cedar, remove | Lf | 0.57
6512805 | Post, 4x4, cedar | Lf | 1.75
6512806 | Post, 4x4, cedar, paint | Lf | 1.39
6512851 | Post, 4x4, redwood, remove | Lf | 0.57
6512855 | Post, 4x4, redwood | Lf | 1.98
6512856 | Post, 4x4, redwood, paint | Lf | 1.39
6512901 | Post, 6x6, cedar, remove | Lf | 0.88
6512905 | Post, 6x6, cedar | Lf | 2.99
6512906 | Post, 6x6, cedar, paint | Lf | 1.81
6512951 | Post, 6x6, redwood, remove | Lf | 0.88
6512955 | Post, 6x6, redwood | Lf | 3.56
6512956 | Post, 6x6, redwood, paint | Lf | 1.81
6513101 | Steps, 2x10, cedar, remove | Lf | 0.36
6513105 | Steps, 2x10, cedar | Lf | 1.81
6513106 | Steps, 2x10, cedar, paint | Lf | 0.77
6513151 | Steps, 2x10, redwood, remove | Lf | 0.36
6513155 | Steps, 2x10, redwood | Lf | 2.46
6513156 | Steps, 2x10, redwood, paint | Lf | 0.77
6513201 | Railing, 1x6, cedar, remove | Lf | 0.36
6513205 | Railing, 1x6, cedar | Lf | 1.5
6513206 | Railing, 1x6, cedar, paint | Lf | 0.57
6513251 | Railing, 1x6, redwood, remove | Lf | 0.36
6513255 | Railing, 1x6, redwood | Lf | 1.7
6513256 | Railing, 1x6, redwood, paint | Lf | 0.57
6513301 | Railing, 2x6, cedar, remove | Lf | 0.46
6513305 | Railing, 2x6, cedar | Lf | 2.38
6513306 | Railing, 2x6, cedar, paint | Lf | 0.77
6513351 | Railing, 2x6, redwood, remove | Lf | 0.46
6513355 | Railing, 2x6, redwood | Lf | 3.05
6513356 | Railing, 2x6, redwood, paint | Lf | 0.77
69 | Exterior, Landscaping
6901101 | Exterior light fixture, avg, remove | Ea | 15.48
6901105 | Exterior light fixture, avg | Ea | 87.72
6901205 | Flood light, double | Ea | 56.76
6901304 | Dryer vent, rem & reins | Ea | 18.06
6901305 | Dryer vent | Ea | 43.86
6901402 | Exterior outlet, wiring, repair | Ea | 46.44
6901405 | Exterior outlet, wiring | Ea | 107.5
6902101 | Doghouse, remove | Ea | 15.5
6902102 | Doghouse, repair | Ea | 28.25
6902105 | Doghouse | Ea | 87.75
6902106 | Doghouse, paint | Ea | 25.8
6903105 | Paving, brick, no joint | Sf | 8.77
6903201 | Pavers, concrete, remove | Sf | 0.77
6903205 | Pavers, concrete | Sf | 4.64
6905101 | TV Antenna, remove | Ea | 15.48
6905102 | TV Antenna, repair | Ea | 46.44
6905105 | TV Antenna | Ea | 108.36
6905151 | Antenna tower, steel, remove | Ea | 25.8
6905155 | Antenna tower, steel | Ea | 216.72
6905156 | Antenna tower, steel, paint | Ea | 36.12
6905201 | Sunshade, wood, avg, remove | Ea | 56.76
6905202 | Sunshade, wood, avg, repair | Ea | 117.5
6905205 | Sunshade, wood, avg | Ea | 431
6905206 | Sunshade, wood, avg, paint | Ea | 77.4
6905301 | Sunshade, metal, avg, remove | Ea | 77.4
6905302 | Sunshade, metal, avg, repair | Ea | 147.5
6905305 | Sunshade, metal, avg | Ea | 460
6905306 | Sunshade, metal, avg, paint | Ea | 77.4
6906101 | Post, wood, 4x4, remove | Lf | 0.26
6906102 | Post, wood, 4x4, repair | Lf | 2.53
6906105 | Post, wood, 4x4 | Lf | 4.9
6906106 | Post, wood, 4x4, paint | Lf | 2.84
6906201 | Post, wood, 6x6, remove | Lf | 0.31
6906202 | Post, wood, 6x6, repair | Lf | 2.84
6906205 | Post, wood, 6x6 | Lf | 6.71
6906206 | Post, wood, 6x6, paint | Lf | 3.61
6906305 | Railroad tie | Lf | 2.43
6906401 | Landscape lumber, 4x4, remove | Lf | 0.15
6906405 | Landscape lumber, 4x4 | Lf | 0.62
6906406 | Landscape lumber, 4x4, paint | Lf | 0.36
6906451 | Landscape lumber, 6x6, remove | Lf | 0.21
6906455 | Landscape lumber, 6x6 | Lf | 2.63
6906456 | Landscape lumber, 6x6, paint | Lf | 0.46
6906501 | Landscape wood, 4" round, remove | Lf | 0.15
6906505 | Landscape wood, 4" round | Lf | 1.03
6906506 | Landscape wood, 4" round, paint | Lf | 0.36
6906601 | Treated wood, 2x6, remove | Lf | 0.15
6906605 | Treated wood, 2x6 | Lf | 0.98
6906606 | Treated wood, 2x6, paint | Lf | 0.36
6908102 | Tree guy, incl stakes, repair | Ea | 18.06
6908105 | Tree guy, incl stakes | Ea | 56.76
6908205 | Lawn, grade and seed | Sy | 1.81
6908301 | Common shrubs, 12", remove | Ea | 7.74
6908305 | Common shrubs, 12" | Ea | 54.25
6908401 | Common shrubs, 24", remove | Ea | 10.32
6908405 | Common shrubs, 24" | Ea | 63.5
6908601 | Common groundcover, remove | Sf | 0.36
6908605 | Common groundcover | Sf | 4.64
6908651 | Common trees, to 10' tall, remove | Ea | 23.75
6908655 | Common trees, to 10' tall | Ea | 258
6908701 | Damaged tree, avg, remove | Ea | 124
6908905 | Astro turf surface | Sy | 6.45
811 | Fences, Gates
8110101 | Chain link fence, 3', remove | Lf | 0.46
8110105 | Chain link fence, 3' | Lf | 4.9
8110106 | Chain link fence, 3', paint | Lf | 1.5
8110201 | Chain link fence, 4', remove | Lf | 0.46
8110205 | Chain link fence, 4' | Lf | 5.73
8110206 | Chain link fence, 4', paint | Lf | 1.6
8110301 | Chain link fence, 5', remove | Lf | 0.67
8110305 | Chain link fence, 5' | Lf | 8.51
8110306 | Chain link fence, 5', paint | Lf | 2.32
8111101 | Chain link gate, 3', remove | Ea | 12.9
8111105 | Chain link gate, 3' | Ea | 98.04
8111106 | Chain link gate, 3', paint | Ea | 23.22
8111201 | Chain link gate, 4', remove | Ea | 18.06
8111205 | Chain link gate, 4' | Ea | 118.68
8111206 | Chain link gate, 4', paint | Ea | 28.38
8111301 | Chain link gate, 5', remove | Ea | 23.22
8111305 | Chain link gate, 5' | Ea | 150
8111306 | Chain link gate, 5', paint | Ea | 36.12
8112101 | Picket fence, cedar, 4', remove | Lf | 3.61
8112105 | Picket fence, cedar, 4' | Lf | 20.12
8112106 | Picket fence, cedar, 4', paint | Lf | 6.45
8112201 | Picket fence gate, 4', remove | Ea | 20.12
8112205 | Picket fence gate, 4' | Ea | 124.5
8112206 | Picket fence gate, 4', paint | Ea | 37.15
8112301 | Basket weave fence, 6', remove | Lf | 4.64
8112305 | Basket weave fence, 6' | Lf | 33.54
8112306 | Basket weave fence, 6', paint | Lf | 7.74
8112401 | Basket weave gate, 6', remove | Ea | 22.7
8112405 | Basket weave gate, 6' | Ea | 180.6
8112406 | Basket weave gate, 6', paint | Ea | 46.45
8112501 | Open rail fence, cedar, 4', remove | Lf | 3.61
8112505 | Open rail fence, cedar, 4' | Lf | 16
8112506 | Open rail fence, cedar, 4', paint | Lf | 6.45
8112601 | Open rail fence gate, 4', remove | Ea | 25.25
8112605 | Open rail fence gate, 4' | Ea | 129
8112606 | Open rail fence gate, 4', paint | Ea | 33.02
8112701 | Chicken wire fence, 4', remove | Lf | 1.29
8112705 | Chicken wire fence, 4' | Lf | 6.71
8112706 | Chicken wire fence, 4', paint | Lf | 3.61
8112801 | Chicken wire fence, 5', remove | Lf | 1.7
8112805 | Chicken wire fence, 5' | Lf | 9.8
8112806 | Chicken wire fence, 5', paint | Lf | 4.9
8113101 | Privacy fence, pine, 6', remove | Lf | 4.64
8113105 | Privacy fence, pine, 6' | Lf | 19.35
8113106 | Privacy fence, pine, 6', paint | Lf | 7.75
8114101 | Fence posts, wood, 4x4, remove | Ea | 6.71
8114105 | Fence posts, wood, 4x4 | Ea | 33.54
8114106 | Fence posts, wood, 4x4, paint | Ea | 7.74
8115106 | Paint fence | Sf | 0.67
813 | Pavements
8131205 | Saw-cut concrete | Lf | 2.32
8131305 | Repair pavement cracks, epoxy fill | Lf | 23.22
8131405 | Seal concrete pavement | Sf | 4.39
8131501 | Concrete slab, 4" thick, remove | Sf | 1.39
8131505 | Concrete slab, 4" thick | Sf | 5.01
8131601 | Concrete slab, 6" thick, remove | Sf | 1.91
8131605 | Concrete slab, 6" thick | Sf | 6.14
8133101 | Asphalt pavement, remove | Sf | 1.5
8133105 | Asphalt pavement | Sf | 5.01
8133207 | Asphalt slurry coating | Sf | 0.17
8133305 | Asphalt topping, 1" | Sf | 1.3
815 | Swimming pools
815110 | Pool, diving board, 16'L | Ea | 750
8151202 | Pool tile, repair | Sf | 19.09
8151303 | Pool coping | Lf | 22.19
8153102 | Repair pool cracks, epoxy fill | Lf | 13.16
8154101 | Plaster pool face, remove | Sf | 0.77
8154105 | Plaster pool face | Sf | 3.66
816 | Sheds, buildings
8161101 | Wood shed, 5'x7', remove | Ea | 129
8161105 | Wood shed, 5'x7' | Ea | 824
8161201 | Wood shed, 8'x10', remove | Ea | 180.6
8161205 | Wood shed, 8'x10' | Ea | 1390
8162101 | Aluminum shed, 5'x7', remove | Ea | 25.8
8162105 | Aluminum shed, 5'x7' | Ea | 540
8162201 | Aluminum shed, 8'x10', remove | Ea | 36.12
8162205 | Aluminum shed, 8'x10' | Ea | 950

## Interior
Costcode | Description | Unit | Cost/unit
16 | Drapes, Blinds
1602101 | Blinds, alum, 1" slats, remove | Sf | 0.77
1602102 | Blinds, alum, 1" slats, repair | Sf | 0.77
1602105 | Blinds, alum, 1" slats | Sf | 3.3
1602201 | Blinds, vertical, PVC, remove | Sf | 0.57
1602202 | Blinds, vertical, PVC, repair | Sf | 1.3
1602205 | Blinds, vertical, PVC | Sf | 6.45
1602301 | Window shade, vinyl, remove | Sf | 0.15
1602302 | Window shade, vinyl, repair | Sf | 0.57
1602305 | Window shade, vinyl | Sf | 1.85
17 | Ceilings
171 | Ceiling, Drywall
1711105 | Drywall, ceiling, 1/2", rated, finished | Sf | 1.07
1711205 | Drywall, ceiling, 5/8", rated, finished | Sf | 1.05
1711305 | Drywall, ceiling, 1/2", rated, no finish | Sf | 0.73
1711405 | Drywall, ceiling, 5/8", rated, no finish | Sf | 0.77
1712105 | Drywall, ceiling, 1/2", finished | Sf | 0.92
1712205 | Drywall, ceiling, 5/8", finished | Sf | 0.99
1712305 | Drywall, ceiling, 1/2", no finish | Sf | 0.56
1712405 | Drywall, ceiling, 5/8", no finish | Sf | 0.6
1713105 | Drywall, ceiling, tape & finish | Sf | 0.31
1713205 | Drywall, ceiling, texture | Sf | 0.46
1713351 | Drywall, ceiling, remove | Sf | 0.15
1713352 | Drywall, ceiling, repair | Sf | 0.36
1714102 | Plaster, ceiling, 2 coats, repair | Sy | 3.94
1714105 | Plaster, ceiling, 2 coats | Sy | 15.15
1714202 | Plaster, ceiling, 3 coats, repair | Sy | 4.15
1714205 | Plaster, ceiling, 3 coats | Sy | 20.3
1714211 | Plaster, ceiling, remove | Sy | 3.04
1714213 | Plaster, ceiling, clean | Sy | 1.86
1714301 | Veneer plaster, ceiling, remove | Sf | 0.21
1714302 | Veneer plaster, ceiling, repair | Sf | 0.26
1714305 | Veneer plaster, ceiling | Sf | 0.46
1714401 | Blown acoustic, remove | Sy | 0.21
1714402 | Blown acoustic, repair | Sy | 0.41
1714405 | Blown acoustic | Sy | 0.54
1717107 | Scrape and sand ceiling | Sf | 0.67
1717203 | Wash ceiling | Sf | 0.26
172 | Suspended Ceiling
1721101 | Ceiling tile, 12x12, remove | Sf | 0.25
1721105 | Ceiling tile, 12x12 | Sf | 2.32
1721106 | Ceiling tile, 12x12, paint | Sf | 0.28
1721201 | Suspended ceiling panels, remove | Sf | 0.21
1721205 | Suspended ceiling panels | Sf | 2.01
1721206 | Suspended ceiling panels, paint | Sf | 0.28
1721301 | Suspended ceiling w/grid, remove | Sf | 0.31
1721305 | Suspended ceiling w/grid | Sf | 2.84
1721306 | Suspended ceiling w/grid, paint | Sf | 0.45
1721401 | Suspended ceiling channels, remove | Sf | 0.36
1721405 | Suspended ceiling channels | Sf | 1.5
173 | Ceiling, Wood
1731101 | Ceiling, plywood, 1/2", remove | Sf | 0.12
1731105 | Ceiling, plywood, 1/2" | Sf | 1.29
1731106 | Ceiling, plywood, 1/2", paint | Sf | 0.26
1731201 | Ceiling, birch plywood, 1/2", remove | Sf | 0.12
1731205 | Ceiling, birch plywood, 1/2" | Sf | 1.6
1731206 | Ceiling, birch plywood, 1/2", paint | Sf | 0.26
1731301 | Ceiling, T&G, remove | Sf | 0.26
1731305 | Ceiling, T&G | Sf | 3.35
1731306 | Ceiling, T&G, paint | Sf | 0.26
1731401 | Furring, ceiling, remove | Sf | 0.32
1731405 | Furring, ceiling | Sf | 0.65
19 | Floors
191 | Subfloor
1911111 | Plywood, CDX, 1/2", remove | Sf | 0.12
1911112 | Plywood, CDX, 1/2", repair | Sf | 0.39
1911115 | Plywood, CDX, 1/2" | Sf | 0.7
1911131 | Plywood, CDX, 5/8", remove | Sf | 0.13
1911132 | Plywood, CDX, 5/8", repair | Sf | 0.43
1911135 | Plywood, CDX, 5/8" | Sf | 0.88
1911151 | Plywood, CDX, 3/4", remove | Sf | 0.14
1911152 | Plywood, CDX, 3/4", repair | Sf | 0.57
1911155 | Plywood, CDX, 3/4" | Sf | 1.1
1911211 | Particle board, 1/2", remove | Sf | 0.14
1911212 | Particle board, 1/2", repair | Sf | 0.36
1911215 | Particle board, 1/2" | Sf | 0.63
1911231 | Particle board, 5/8", remove | Sf | 0.13
1911232 | Particle board, 5/8", repair | Sf | 0.41
1911235 | Particle board, 5/8" | Sf | 0.8
1911251 | Particle board, 3/4", remove | Sf | 0.17
1911252 | Particle board, 3/4", repair | Sf | 0.61
1911255 | Particle board, 3/4" | Sf | 0.94
1911311 | Hardboard, 1/4", remove | Sf | 0.12
1911312 | Hardboard, 1/4", repair | Sf | 0.23
1911315 | Hardboard, 1/4" | Sf | 0.6
195 | Flooring
1951101 | Wood plank, oak, remove | Sf | 0.77
1951102 | Wood plank, oak, repair | Sf | 5.65
1951105 | Wood plank, oak | Sf | 9.75
1951106 | Wood plank, oak, paint | Sf | 0.19
1951107 | Wood plank, oak, refinish | Sf | 2.32
1951201 | Parquetry, oak, remove | Sf | 0.77
1951202 | Parquetry, oak, repair | Sf | 5.42
1951205 | Parquetry, oak | Sf | 9.03
1951206 | Parquetry, oak, paint | Sf | 0.19
1951207 | Parquetry, oak, refinish | Sf | 2.32
1951301 | Parquetry, walnut, remove | Sf | 0.77
1951302 | Parquetry, walnut, repair | Sf | 5.21
1951305 | Parquetry, walnut | Sf | 7.79
1951306 | Parquetry, walnut, paint | Sf | 0.19
1951307 | Parquetry, walnut, refinish | Sf | 2.32
1951401 | T&G, hardwood, remove | Sf | 0.72
1951402 | T&G, hardwood, repair | Sf | 5.42
1951405 | T&G, hardwood | Sf | 7.48
1951406 | T&G, hardwood, paint | Sf | 0.19
1951407 | T&G, hardwood, refinish | Sf | 2.32
1951501 | T&G, pine, remove | Sf | 0.67
1951502 | T&G, pine, repair | Sf | 4.49
1951505 | T&G, pine | Sf | 5.52
1951506 | T&G, pine, paint | Sf | 0.19
1951507 | T&G, pine, refinish | Sf | 2.32
1952101 | Marble floor, 3/8", remove | Sf | 1.29
1952105 | Marble floor, 3/8" | Sf | 10.15
1952201 | Slate floor, 1/4", remove | Sf | 0.83
1952205 | Slate floor, 1/4" | Sf | 4.69
1952301 | Brick floor, 1-1/4" , remove | Sf | 0.67
1952305 | Brick floor, 1-1/4" | Sf | 7.07
1952401 | Quarry tile, 1/2", remove | Sf | 0.77
1952405 | Quarry tile, 1/2" | Sf | 7.48
1952501 | Vinyl tile, 12x12, remove | Sf | 0.46
1952505 | Vinyl tile, 12x12 | Sf | 3.56
1952601 | Vinyl sheet, 1/8", remove | Sf | 0.31
1952605 | Vinyl sheet, 1/8" | Sf | 4.38
1952901 | Cork tile, 1/8", remove | Sf | 0.31
1952905 | Cork tile, 1/8" | Sf | 3.35
1953101 | Ceramic tile, 4x4, remove | Sf | 0.77
1953105 | Ceramic tile, 4x4 | Sf | 6.45
1953201 | Mosaic tile, 1x1, remove | Sf | 0.57
1953205 | Mosaic tile, 1x1 | Sf | 7.38
1954101 | Concrete, 4", w/mesh, remove | Sf | 0.52
1954102 | Concrete, 4", w/mesh, repair | Sf | 2.73
1954104 | Concrete, 4", w/mesh, paint | Sf | 0.19
1954105 | Concrete, 4", w/mesh | Sf | 1.95
1956101 | Carpet, nylon, avg, remove | Sy | 0.41
1956105 | Carpet, nylon, avg | Sy | 18.05
1956201 | Carpet, wool, avg, remove | Sy | 0.41
1956205 | Carpet, wool, avg | Sy | 36.25
1956301 | Carpet tile, avg, remove | Sy | 0.46
1956305 | Carpet tile, avg | Sy | 21.25
1956601 | Carpet pad, 1/2", rebound, remove | Sy | 0.36
1956605 | Carpet pad, 1/2", rebound | Sy | 2.32
1956611 | Carpet pad, 1/2", matrix, remove | Sy | 0.36
1956615 | Carpet pad, 1/2", matrix | Sy | 3.04
1956701 | Synthetic turf, 3/8", remove | Sf | 0.36
1956705 | Synthetic turf, 3/8" | Sf | 3.56
1957104 | Carpet, fold back & elevate | Sy | 2.1
1957201 | Carpet, remove and transport | Sy | 1.55
1957301 | Carpet, wet, remove | Sy | 2.84
1957401 | Carpet pad, wet, remove & dispose | Sy | 1.33
1957501 | Sewer carpet, remove & dispose | Sy | 4.64
1957531 | Sewer pad, remove & dispose | Sy | 2.75
1957601 | Carpet, fire damaged, remove | Sy | 3.35
1957611 | Carpet pad, fire damaged, remove | Sy | 1.7
1958105 | Vinyl base mould, 4" | Lf | 1.5
199 | Floors, Miscellaneous
1991107 | Refinish wood floor | Sf | 2.32
1991207 | Refinish old wood floor | Sf | 2.63
1991307 | Clean & wax floor | Sf | 0.43
1991403 | Clean & deodorize floor | Sf | 0.31
21 | Stairs
2111101 | Stair newel, 3-1/4"W, remove | Ea | 18.57
2111104 | Stair newel, 3-1/4"W, rem & reins | Ea | 38.5
2111105 | Stair newel, 3-1/4"W | Ea | 81.25
2111106 | Stair newel, 3-1/4"W, paint | Ea | 17.25
2111107 | Stair newel, 3-1/4"W, refinish | Ea | 22.6
2111201 | Stair baluster, pine, 30"H, remove | Ea | 3.87
2111204 | Stair baluster, pine, 30"H, rem & reins | Ea | 8.77
2111205 | Stair baluster, pine, 30"H | Ea | 15.21
2111206 | Stair baluster, pine, 30"H, paint | Ea | 4.64
2111207 | Stair baluster, pine, 30"H, refinish | Ea | 5.67
2111301 | Prefab stairs, 3'W, remove | Flgt | 128.94
2111305 | Prefab stairs, 3'W | Flgt | 745
2111306 | Prefab stairs, 3'W, paint | Flgt | 119
2111307 | Prefab stairs, 3'W, refinish | Flgt | 151
2111401 | Stair railing, oak, remove | Lf | 2.32
2111405 | Stair railing, oak | Lf | 18.82
2111406 | Stair railing, oak, paint | Lf | 2.01
2111407 | Stair railing, oak, refinish | Lf | 2.32
2111501 | Railing with baluster, remove | Lf | 6.34
2111505 | Railing with baluster | Lf | 34.04
2111506 | Railing with baluster, paint | Lf | 3.87
2111507 | Railing with baluster, refinish | Lf | 5.93
2111601 | Stair riser, oak, remove | Lf | 2.63
2111605 | Stair riser, oak | Lf | 10.06
2111606 | Stair riser, oak, paint | Lf | 2.58
2111607 | Stair riser, oak, refinish | Lf | 3.35
2111701 | Skirt board, pine, 1x10, remove | Lf | 8.2
2111705 | Skirt board, pine, 1x10 | Lf | 2.53
2111706 | Skirt board, pine, 1x10, paint | Lf | 2.48
2111707 | Skirt board, pine, 1x10, refinish | Lf | 5.31
2111801 | Tread, oak, 3', remove | Ea | 5.93
2111805 | Tread, oak, 3' | Ea | 42.35
2111806 | Tread, oak, 3', paint | Ea | 4.64
2111807 | Tread, oak, 3', refinish | Ea | 9.03
2111901 | Landing, remove | Ea | 39.25
2111904 | Landing, rem & reins | Ea | 101
2111905 | Landing | Ea | 172
2111906 | Landing, paint | Ea | 23.21
2111907 | Landing, refinish | Ea | 42.29
2113101 | Curved stairways, oak, remove | Flgt | 645
2113105 | Curved stairways, oak | Flgt | 5950
2113106 | Curved stairways, oak, paint | Flgt | 382
2113107 | Curved stairways, oak, refinish | Flgt | 490
2114101 | Stairs, built in place, oak, remove | Flgt | 231
2114105 | Stairs, built in place, oak | Flgt | 2245
2114106 | Stairs, built in place, oak, paint | Flgt | 260
2114107 | Stairs, built in place, oak, refinish | Flgt | 399
2114201 | Basement stairs, remove | Flgt | 88.25
2114205 | Basement stairs | Flgt | 260
2114206 | Basement stairs, paint | Flgt | 77.5
2114301 | Folding stairs, remove | Ea | 55.75
2114305 | Folding stairs | Ea | 432
2114306 | Folding stairs, paint | Ea | 81.25
2116107 | Scrape and sand stairs | Trd | 12.85
231 | Walls, Drywall
2311105 | Drywall, walls, rated, 1/2", finished | Sf | 0.86
2311205 | Drywall, walls, rated, 5/8", finished | Sf | 0.91
2311305 | Drywall, walls, rated, 1/2", no finish | Sf | 0.61
2311405 | Drywall, walls, rated, 5/8", no finish | Sf | 0.66
2312105 | Drywall, walls, 1/2", finished | Sf | 0.78
2312205 | Drywall, walls, 5/8", finished | Sf | 0.83
2312305 | Drywall, walls, 1/2", no finish | Sf | 0.54
2312405 | Drywall, walls, 5/8", no finish | Sf | 0.58
2313105 | Drywall, walls, tape & finish | Sf | 0.25
2313201 | Drywall, walls, texture, remove | Sf | 0.02
2313202 | Drywall, walls, texture, repair | Sf | 0.04
2313235 | Drywall, walls, texture | Sf | 0.04
2314102 | Plaster, walls, 2 coats, repair | Sy | 3.66
2314105 | Plaster, walls, 2 coats | Sy | 13.67
2314202 | Plaster, walls, 3 coats, repair | Sy | 3.87
2314205 | Plaster, walls, 3 coats | Sy | 19.25
2314211 | Plaster, walls, remove | Sy | 2.84
2314213 | Plaster, walls, clean | Sy | 1.81
2314301 | Veneer plaster, walls, remove | Sf | 0.2
2314302 | Veneer plaster, walls, repair | Sf | 0.24
2314305 | Veneer plaster, walls | Sf | 0.43
2314401 | Stucco plaster, 1", remove | Sy | 6.7
2314402 | Stucco plaster, 1", repair | Sy | 18.25
2314405 | Stucco plaster, 1" | Sy | 34.5
233 | Walls, Wood
2331105 | Furring, walls | Sf | 0.6
2331201 | Walls, plywood, 1/2", remove | Sf | 0.11
2331205 | Walls, plywood, 1/2" | Sf | 1.19
2331206 | Walls, plywood, 1/2", paint | Sf | 0.24
2331301 | Walls, birch plywood, 1/2", remove | Sf | 0.11
2331305 | Walls, birch plywood, 1/2" | Sf | 1.5
2331306 | Walls, birch plywood, 1/2", paint | Sf | 0.24
2331401 | Marlite paneling, remove | Sf | 0.1
2331403 | Marlite paneling, clean | Sf | 0.12
2331405 | Marlite paneling | Sf | 1.34
2331501 | Pegboard paneling, remove | Sf | 0.1
2331505 | Pegboard paneling | Sf | 0.88
2332101 | Wallboard, redwood, remove | Sf | 0.1
2332105 | Wallboard, redwood | Sf | 3.25
2332201 | Wallboard, cedar , remove | Sf | 0.1
2332205 | Wallboard, cedar | Sf | 2.84
2332301 | Knotty pine, remove | Sf | 0.15
2332305 | Knotty pine | Sf | 2.11
2333101 | Shelving, built-in, remove | Sf | 0.77
2333105 | Shelving, built-in | Sf | 4.64
2333106 | Shelving, built-in, paint | Sf | 1.29
2333201 | Fireplace mantel, remove | Lf | 2.06
2333205 | Fireplace mantel | Lf | 10.1
2333206 | Fireplace mantel, paint | Lf | 3.35
2333207 | Fireplace mantel, refinish | Lf | 4.59
2334101 | Wood trim, 1x2, remove | Lf | 0.12
2334105 | Wood trim, 1x2 | Lf | 0.5
2334106 | Wood trim, 1x2, paint | Lf | 0.36
2334201 | Wood trim, 1x3, remove | Lf | 0.14
2334205 | Wood trim, 1x3 | Lf | 0.64
2334206 | Wood trim, 1x3, paint | Lf | 0.41
2334301 | Wood trim, 1x4, remove | Lf | 0.21
2334305 | Wood trim, 1x4 | Lf | 0.7
2334306 | Wood trim, 1x4, paint | Lf | 0.45
2334401 | Wood trim, 1x6, remove | Lf | 0.23
2334405 | Wood trim, 1x6 | Lf | 0.98
2334406 | Wood trim, 1x6, paint | Lf | 0.46
235 | Walls, Miscellaneous
2351801 | Bath tub wall cover, plastic, remove | Ea | 33.25
2351805 | Bath tub wall cover, plastic | Ea | 233
2357107 | Scrape and sand walls | Sf | 0.54
2357127 | Scrape and sand trim | Lf | 0.26
2357203 | Wash walls | Sf | 0.23
25 | Interior Doors
2511101 | Wood door, flush, hollow, remove | Ea | 14.96
2511105 | Wood door, flush, hollow | Ea | 67.95
2511106 | Wood door, flush, hollow, paint | Ea | 18
2511107 | Wood door, flush, hollow, refinish | Ea | 29.25
2511201 | Accordeon door, wood, remove | Sf | 0.67
2511205 | Accordeon door, wood | Sf | 10.06
2511301 | Dutch door, pine, remove | Ea | 41.26
2511305 | Dutch door, pine | Ea | 432
2511306 | Dutch door, pine, paint | Ea | 33.5
2511307 | Dutch door, pine, refinish | Ea | 87.68
2511501 | Bi-fold door, flush, 3'W, remove | Ea | 17.02
2511505 | Bi-fold door, flush, 3'W | Ea | 108.82
2511506 | Bi-fold door, flush, 3'W, paint | Ea | 24.24
2511507 | Bi-fold door, flush, 3'W, refinish | Ea | 39.2
2511531 | Bi-fold door, flush, 5'W, remove | Ea | 20.11
2511535 | Bi-fold door, flush, 5'W | Ea | 183.25
2511536 | Bi-fold door, flush, 5'W, paint | Ea | 39.2
2511537 | Bi-fold door, flush, 5'W, refinish | Ea | 56.25
2511601 | Bi-fold door, louver, 3'W, remove | Ea | 17.02
2511605 | Bi-fold door, louver, 3'W | Ea | 126.35
2511606 | Bi-fold door, louver, 3'W, paint | Ea | 33.52
2511607 | Bi-fold door, louver, 3'W, refinish | Ea | 50.75
2511631 | Bi-fold door, louver, 5'W, remove | Ea | 20.11
2511635 | Bi-fold door, louver, 5'W | Ea | 216.62
2511636 | Bi-fold door, louver, 5'W, paint | Ea | 52.75
2511637 | Bi-fold door, louver, 5'W, refinish | Ea | 80.25
2511701 | Louvered door, pine, 2-6, remove | Ea | 19.15
2511705 | Louvered door, pine, 2-6 | Ea | 183
2511706 | Louvered door, pine, 2-6, paint | Ea | 183
2511707 | Louvered door, pine, 2-6, refinish | Ea | 87.75
2511801 | Door, solid, pre-hung, 2-6, remove | Ea | 19.25
2511805 | Door, solid, pre-hung, 2-6 | Ea | 183
2511806 | Door, solid, pre-hung, 2-6, paint | Ea | 23.21
2511807 | Door, solid, pre-hung, 2-6, refinish | Ea | 79.43
2511901 | Door, hollow, pre-hung, 2-6, remove | Ea | 18.05
2511905 | Door, hollow, pre-hung, 2-6 | Ea | 130
2511906 | Door, hollow, pre-hung, 2-6, paint | Ea | 23.21
2511907 | Door, hollow, pre-hung, 2-6, refinish | Ea | 67
2512001 | Panel door, pre-hung, 2-6, remove | Ea | 23.21
2512005 | Panel door, pre-hung, 2-6 | Ea | 285
2512006 | Panel door, pre-hung, 2-6, paint | Ea | 23.21
2512007 | Panel door, pre-hung, 2-6, refinish | Ea | 79.43
2512101 | Cafe door, 2-6, remove | Ea | 14.96
2512105 | Cafe door, 2-6 | Ea | 150.25
2512106 | Cafe door, 2-6, paint | Ea | 18.05
2512107 | Cafe door, 2-6, refinish | Ea | 43.84
2512201 | Access door, fire rated, 18x18, remove | Ea | 12.89
2512205 | Access door, fire rated, 18x18 | Ea | 191
2512206 | Access door, fire rated, 18x18, paint | Ea | 17.02
2512207 | Access door, fire rated, 18x18, refinish | Ea | 23.21
2512251 | Access door for drywall , 24x36, remove | Ea | 13.93
2512255 | Access door for drywall , 24x36 | Ea | 172
2512256 | Access door for drywall, 24x36, paint | Ea | 19.08
2512257 | Access door for drywall, 24x36, refinish | Ea | 23
27 | Door Accessories
2711101 | Door hinges, steel, remove | Pair | 10.32
2711105 | Door hinges, steel | Pair | 49
2711151 | Door hinges, brass, remove | Pair | 10.32
2711155 | Door hinges, brass | Pair | 67.55
2711201 | Bumber plate, 8"H, remove | Ea | 10.32
2711205 | Bumber plate, 8"H | Ea | 101
2711301 | Deadlock, medium duty, remove | Ea | 19.34
2711305 | Deadlock, medium duty | Ea | 119
2711401 | Doorstop, remove | Ea | 3.61
2711403 | Doorstop, clean | Ea | 7.74
2711404 | Doorstop, rem & reins | Ea | 8.51
2711405 | Doorstop | Ea | 17.02
2711501 | Lockset, passage, remove | Ea | 14.95
2711505 | Lockset, passage | Ea | 67.05
2711601 | Lockset, keyed, remove | Ea | 19.08
2711605 | Lockset, keyed | Ea | 95.41
2711701 | Entry locks, deadbolt, remove | Ea | 20.37
2711705 | Entry locks, deadbolt | Ea | 150.25
2711801 | Kick plate, bronze, 6"H, remove | Ea | 9.8
2711805 | Kick plate, bronze, 6"H | Ea | 67.05
2711901 | Door knock, bronze, remove | Ea | 8.77
2711905 | Door knock, bronze | Ea | 77.36
2712001 | Door closer, remove | Ea | 19.6
2712003 | Door closer, clean | Ea | 46.93
2712004 | Door closer, rem & reins | Ea | 49
2712005 | Door closer | Ea | 235
2712101 | Threshold, 3', bronze, remove | Ea | 12.38
2712105 | Threshold, 3', bronze | Ea | 98.5
2712131 | Threshold, 3', oak, remove | Ea | 7.22
2712135 | Threshold, 3', oak | Ea | 46.45
2712137 | Threshold, 3', oak, refinish | Ea | 18.05
2713101 | Weatherstripping, bronze, remove | Opng | 14.96
2713105 | Weatherstripping, bronze | Opng | 123.78
2714101 | Door jamb, exterior, remove | Ea | 19.08
2714105 | Door jamb, exterior | Ea | 149.57
2714106 | Door jamb, exterior, paint | Ea | 24.76
2714201 | Door jamb, interior, remove | Ea | 18.05
2714205 | Door jamb, interior | Ea | 131
2714206 | Door jamb, interior, paint | Ea | 24.76
2716107 | Scrape and sand door | Ea | 77.36
2716207 | Scrape and sand frame | Ea | 62
3951105 | Mirror, 1/4" plate glass | Sf | 11.85
3951205 | Mirror, 1/4" beveled | Sf | 13.15
3951305 | Mirror, 1/4" plate glass, w/frame | Sf | 8.72
4711106 | Paint oil, stucco, 2 coats | Sf | 0.27
4711126 | Paint enamel, stucco, 2 coats | Sf | 0.24
4711206 | Paint oil, shingle, 2 coats | Sf | 0.28
4711226 | Paint enamel, shingle, 2 coats | Sf | 0.25
4711306 | Paint oil, casework, 2 coats | Sf | 0.74
4712106 | Paint oil, door, 2 coats | Ea | 36.88
4712126 | Paint enamel, door, 2 coats | Ea | 32.75
4712206 | Paint oil, window w/trim, 2 coats | Ea | 35.9
4712226 | Paint enamel, window, 2 coats | Ea | 31.92
4713106 | Paint oil, fence, 1 coat | Sf | 0.36
4713126 | Paint enamel, fence, 1 coat | Sf | 0.34
4713206 | Paint oil, floor, 1 coat | Sf | 0.19
4713226 | Stain floor, 1 coat | Sf | 0.15
4714106 | Paint oil, gutters, 2 coats | Lf | 0.74
4714206 | Paint oil, pipe, 4", 2 coats | Lf | 0.7
4714306 | Paint oil, wood trim, 2 coats | Lf | 0.57
4714326 | Paint enamel, wood trim, 2 coats | Lf | 0.52
4715106 | Paint oil, drywall, 3 coats | Sf | 0.57
4715126 | Paint enamel, drywall, 3 coats | Sf | 0.52
475 | Finishes
4751101 | Vinyl wall covering, remove | Sf | 1.81
4751105 | Vinyl wall covering | Sf | 0.39
4752101 | Wallpaper, avg, remove | Sf | 1.81
4752105 | Wallpaper, avg | Sf | 1.7
4752201 | Wallpaper, premium, remove | Sf | 1.81
4752205 | Wallpaper, premium | Sf | 2.73
4912115 | Batt insulation, R-11, 15" KF | Sf | 0.48
4912135 | Batt insulation, R-11, 23" KF | Sf | 0.36
4912215 | Batt insulation, R-13, 15" KF | Sf | 0.52
4912315 | Batt insulation, R-19, 15" KF | Sf | 0.69
4912335 | Batt insulation, R-19, 23" KF | Sf | 0.5
4912355 | Batt insulation, R-19, 15" UF | Sf | 0.67
4912375 | Batt insulation, R-19, 23" UF | Sf | 0.48
4912415 | Batt insulation, R-30, 16" KF | Sf | 0.88
4912435 | Batt insulation, R-30, 24" KF | Sf | 0.64
4912515 | Batt insulation, R-38, 15" KF | Sf | 1.04
4912535 | Batt insulation, R-38, 24" KF | Sf | 0.73
4913115 | Cellulose insulation, R-13 | Sf | 0.73
4913215 | Cellulose insulation, R-19 | Sf | 0.91
4913315 | Cellulose insulation, R-30 | Sf | 1.06
4913415 | Cellulose insulation, R-50 | Sf | 1.25

## Equipment
Costcode | Description | Unit | Cost/unit
331 | Cabinets
3311101 | Base cabinet, 24"D, remove | Lf | 11.85
3311105 | Base cabinet, 24"D | Lf | 114.25
3311107 | Base cabinet, 24"D, refinish | Lf | 29.5
3311201 | Wall cabinet, 12"D, remove | Lf | 9.78
3311205 | Wall cabinet, 12"D | Lf | 102
3311207 | Wall cabinet, 12"D, refinish | Lf | 25.21
3311301 | Range base cabinet, remove | Lf | 13.12
3311305 | Range base cabinet | Lf | 85
3311307 | Range base cabinet, refinish | Lf | 29.5
3311401 | Oven cabinet, remove | Lf | 13.12
3311405 | Oven cabinet | Lf | 97.76
3311407 | Oven cabinet, refinish | Lf | 30.36
3311501 | Island base cabinet, remove | Lf | 11.75
3311505 | Island base cabinet | Lf | 121.25
3311507 | Island base cabinet, refinish | Lf | 29.58
3311601 | Medicine cabinet, 16x22, remove | Ea | 16.98
3311605 | Medicine cabinet, 16x22 | Ea | 85.5
3312101 | Metal cabinet, base, remove | Lf | 12.86
3312105 | Metal cabinet, base | Lf | 87.25
3312106 | Metal cabinet, base, paint | Lf | 23.15
3312201 | Metal cabinet, wall, remove | Lf | 9.26
3312205 | Metal cabinet, wall | Lf | 85.5
3312206 | Metal cabinet, wall, paint | Lf | 21.1
3312605 | Cabinet hardware | Ea | 2.83
3313103 | Cabinet door, glass panel, 12x30, clean | Ea | 4.89
3313105 | Cabinet door, glass panel, 12x30 | Ea | 26.24
3313205 | Cabinet door, wood, 12x30 | Ea | 49.5
3313206 | Cabinet door, wood, 12x30, paint | Ea | 12.86
3313207 | Cabinet door, wood, 12x30, refinish | Ea | 15.95
3314101 | Countertop, plastic lam, 24"W, remove | Lf | 5.66
3314105 | Countertop, plastic lam, 24"W | Lf | 21.35
3314151 | Countertop, cult. marble , 24"W, remove | Lf | 9
3314155 | Countertop, cult. marble, 24"W | Lf | 33.75
3315101 | Vanity base, remove | Lf | 9.78
3315105 | Vanity base | Lf | 101
3315106 | Vanity base, paint | Lf | 18.01
3315107 | Vanity base, refinish | Lf | 20.25
3316101 | Shelving, pine, 10", remove | Lf | 0.98
3316105 | Shelving, pine, 10" | Lf | 4.58
3316106 | Shelving, pine, 10", paint | Lf | 1.29
3316205 | Shelving, prefin w/supp, 10" | Lf | 10.55
3319107 | Scrape & sand cabinets | Lf | 18.52
85 | Appliance
8510101 | Refrigerator, 10 Cf, remove | Ea | 25.73
8510105 | Refrigerator, 10 Cf | Ea | 545
8510201 | Refrigerator, 14 Cf, remove | Ea | 25.75
8510205 | Refrigerator, 14 Cf | Ea | 696
8510301 | Refrigerator, 18 Cf, remove | Ea | 25.73
8510305 | Refrigerator, 18 Cf | Ea | 900
8510401 | Refrigerator, 24 Cf, remove | Ea | 30.87
8510405 | Refrigerator, 24 Cf | Ea | 1285
8520101 | Range, gas, remove | Ea | 30.87
8520105 | Range, gas | Ea | 596
8520111 | Range, electric, remove | Ea | 30.9
8520115 | Range, electric | Ea | 560
8520131 | Drop in range, electric, remove | Ea | 15.44
8520135 | Drop in range, electric | Ea | 385
8520141 | Drop in range, gas, remove | Ea | 15.44
8520145 | Drop in range, gas | Ea | 30.87
8530101 | Range hood, vented, 30"W, remove | Ea | 15.44
8530105 | Range hood, vented, 30"W | Ea | 252.11
8540101 | Microwave oven, avg, remove | Ea | 25.75
8540105 | Microwave oven, avg | Ea | 355
8550101 | Washing machine, remove | Ea | 20.58
8550105 | Washing machine | Ea | 435
8551101 | Dryer, gas, remove | Ea | 20.58
8551105 | Dryer, gas | Ea | 390
8551201 | Dryer, electric, remove | Ea | 20.58
8551205 | Dryer, electric | Ea | 360
8560101 | Dishwasher, built-in, remove | Ea | 20.58
8560105 | Dishwasher, built-in | Ea | 385
8560201 | Dishwasher, portable, remove | Ea | 20.58
8560205 | Dishwasher, portable | Ea | 415
8570101 | Disposal, 1/2 Hp, remove | Ea | 10.29
8570105 | Disposal, 1/2 Hp | Ea | 110.85
8570201 | Disposal, 3/4 Hp, remove | Ea | 10.29
8570205 | Disposal, 3/4 Hp | Ea | 172.5
8580101 | Trash compactor, remove | Ea | 18.52
8580105 | Trash compactor | Ea | 395

## Plumbing
Costcode | Description | Unit | Cost/unit
35 | Plumbing
3501105 | Rough-in fixture | Ea | 375
3501205 | Rough-in water closet | Ea | 375
3501305 | Rough-in shower stall | Ea | 375
3502311 | Hose bibb, remove | Ea | 6.83
3502355 | Hose bibb | Ea | 48
3511105 | Pipe, cast iron, 4" | Lf | 17.01
3511205 | Pipe, copper, 1" | Lf | 7.89
3511215 | Pipe, copper, 2" | Lf | 18.3
3511305 | Pipe, PVC, 1-1/4" | Lf | 8.1
3511325 | Pipe, PVC, 4" | Lf | 17.15
3511405 | Pipe, galv steel, 1" | Lf | 8.82
3511505 | Pipe, galv steel, 4" | Lf | 28.4
3512101 | Utility pump, 1"D, 3 H, motor, remove | Ea | 189
3512105 | Utility pump, 1"D, 3 Hp, motor | Ea | 3850
3512201 | Circulating pump, 1", 1/3 Hp, remove | Ea | 64
3512205 | Circulating pump, 1", 1/3 Hp | Ea | 540
3512301 | Submersible pump, 10 Gpm, remove | Ea | 67
3512305 | Submersible pump, 10 Gpm | Ea | 540
3512401 | Sump pump, 22 Gpm, remove | Ea | 41.24
3512405 | Sump pump, 22 Gpm | Ea | 360
3512411 | Sump pump, cellar, 1/3 Hp, remove | Ea | 25.78
3512415 | Sump pump, cellar, 1/3 Hp | Ea | 201.25
3512501 | Water heater, gas, 30 Gal, remove | Ea | 36.09
3512505 | Water heater, gas, 30 Gal | Ea | 310
3512551 | Water heater, gas, 75 gal, remove | Ea | 46.4
3512555 | Water heater, gas, 75 gal | Ea | 690
3513501 | Water heater, elec, 30 Gal, remove | Ea | 36.09
3513505 | Water heater, elec, 30 Gal | Ea | 325
3513551 | Water heater, elec, 50 Gal, remove | Ea | 41.24
3513555 | Water heater, elec, 50 Gal | Ea | 395
3514105 | Water supply meter, 5/8" | Ea | 79.9
36 | Plumbing Accessories
3615101 | Lavatory, porcelain CI, 20x18, remove | Ea | 23.2
3615105 | Lavatory, porcelain CI, 20x18 | Ea | 232
3615201 | Lavatory, cultured marble, 25x19, remov | Ea | 23.2
3615205 | Lavatory, cultured marble, 25x19 | Ea | 215
3615301 | Lavatory, St. steel, 25x22 , remove | Ea | 23.2
3615305 | Lavatory, St. steel, 25x22 | Ea | 280
3615501 | Laundry sink, porcelain CI, 24x20, remov | Ea | 23.2
3615505 | Laundry sink, porcelain CI, 24x20 | Ea | 425
3615511 | Laundry sink, plastic, 18x23, remove | Ea | 23.2
3615515 | Laundry sink, plastic, 18x23 | Ea | 206.2
3615601 | Water closet, tank type, remove | Ea | 23.2
3615605 | Water closet, tank type | Ea | 288.68
3615705 | Water closet, lid & seat | Ea | 38.66
3616101 | Kitchen sink, porcelain CI, 30x21, remov | Ea | 23.2
3616105 | Kitchen sink, porcelain CI, 30x21 | Ea | 202.5
3616201 | Kitchen sink, St. steel, 25x22, remove | Ea | 20.62
3616205 | Kitchen sink, St. steel, 25x22 | Ea | 221.67
3623101 | Bath faucet, combo, remove | Ea | 18.04
3623105 | Bath faucet, combo | Ea | 108.26
3623201 | Kitchen faucet, remove | Ea | 18.25
3623205 | Kitchen faucet | Ea | 97.95
3623501 | Laundry faucet, remove | Ea | 13.25
3623505 | Laundry faucet | Ea | 49
3623601 | Lavatory faucet, remove | Ea | 13.1
3623605 | Lavatory faucet | Ea | 65
3623701 | Shower head, St steel, remove | Ea | 12.37
3623705 | Shower head, St steel | Ea | 67
3623801 | Hot water dispenser, remove | Ea | 19.07
3623805 | Hot water dispenser | Ea | 24.74
3624105 | Curtain rod, St. steel, 5' | Ea | 46.4
3624205 | Grab bar, St. steel, 24" | Ea | 48.95
3624305 | Mirror with SS frame, 36x24 | Ea | 250
3624405 | Soap dispenser, liquid | Ea | 85
3624501 | Shelf, St. steel, 24", remove | Ea | 7.73
3624505 | Shelf, St. steel, 24" | Ea | 51.55
3624605 | Towel bar, St. steel, 30" | Ea | 47.95
3631101 | Bath tub, porcelain CI, remove | Ea | 97.95
3631105 | Bath tub, porcelain CI | Ea | 1210
3631201 | Bath tub, steel, remove | Ea | 97.95
3631205 | Bath tub, steel | Ea | 375
3631301 | Bath tub, fiberglass, remove | Ea | 97.95
3631305 | Bath tub, fiberglass | Ea | 360
3631401 | Whirlpool bath tub, remove | Ea | 149.5
3631405 | Whirlpool bath tub | Ea | 2810
3631501 | Shower stall, w/door, remove | Ea | 67.02
3631505 | Shower stall, w/door | Ea | 585
3631601 | Shower tub, fiberglass, remove | Ea | 28.35
3631605 | Shower tub, fiberglass | Ea | 225
3631701 | Bath tub unit, premolded, remove | Ea | 48.97
3631705 | Bath tub unit, premolded | Ea | 695

## Electrical
Costcode | Description | Unit | Cost/unit
371 | Wiring, Controls
3711105 | Wiring, 110 V outlet | Ea | 43.75
3711205 | Wiring, 220 V outlet | Ea | 180
3712105 | Wiring, switch device | Ea | 59.05
3712205 | Wiring, receptacle device | Ea | 59.05
3713105 | Burgler alarm, 2 control | Ea | 385
3713305 | Door bell | Ea | 152
372 | Fixtures
3721105 | Fluorescent, 2,x2', 2x40 W | Ea | 119
3721125 | Fluorescent, 4'x4', 4x40 W | Ea | 275
3721145 | Fluorescent, strip, 4' | Ea | 98
3721165 | Fluorescent, strip, 8' | Ea | 118
3721205 | Incandescent, reflector, 100 W | Ea | 90
3721405 | Recessed lighting | Ea | 77.25
3721505 | Heat lamp, 100 W | Ea | 87.55
3721603 | Chandelier, clean | Ea | 97.85
3721605 | Chandelier | Ea | 490
3721705 | Exhaust fan | Ea | 172.5
3721803 | Ceiling fan, clean | Ea | 77.25
3721805 | Ceiling fan | Ea | 435
375 | Panels
3755105 | Panelboard, 100 Amp, 12 Circ. | Ea | 725
3755155 | Panelboard, 225 Amp, 32 Circ. | Ea | 1410

## HVAC
Costcode | Description | Unit | Cost/unit
53 | HVAC
5311105 | Boiler, electric, 6KW | Ea | 4583.5
5311205 | Boiler, gas, 78 MBH | Ea | 2050
5311305 | Boiler, oil, 110 MBH | Ea | 2725
5312105 | Furnace, gas, 40 MBH | Ea | 695
5312135 | Furnace, gas, 60 MBH | Ea | 736.45
5312155 | Furnace, gas, 100 MBH | Ea | 902
5312205 | Pool heater, gas 120 MBH | Ea | 1260
5312305 | Space heater, gas, 60 MBH | Ea | 592.25
5312355 | Wall heater, gas, 24 MBH | Ea | 489
5312405 | Baseboard heater, elec, 4' | Ea | 140
5312425 | Baseboard heater, hot water, 4' | Ea | 263
5312505 | Humidifier, 30 Lb | Ea | 2300
5331105 | Boiler insulation | Sf | 7.95
5331205 | Duct insulation | Sf | 2.32
5331305 | Pipe insulation | Lf | 6.44
5332105 | Tank, steel, 24 Gal | Ea | 365
5333105 | Heat pump, 2 Ton | Ea | 2525
5333205 | Heat pump, 5 Ton | Ea | 4580
5333305 | Air Conditioner, 3 Ton | Ea | 4075
5333345 | Air Conditioner, 5 Ton | Ea | 4995
5333405 | Thermostat, heat & cool | Ea | 110.5
5333505 | Thermostat, programmable | Ea | 201
5334105 | A/C duct, flexible, 6"D | Lf | 3.85
5334205 | A/C duct, aluminum | Lb | 18
5334305 | Air filter, electronic, 500 CFM | Ea | 800
5334405 | A/C control system | Ea | 2725
5335105 | Diffuser, alum, 12x12 | Ea | 98
5335205 | Grille, alum, 12x12 | Ea | 33.5
5336105 | Wood burning stove | Ea | 490
5336205 | Portable fireplace unit | Ea | 565
5336305 | Prefab fireplace unit | Ea | 1190

## FireProtection
Costcode | Description | Unit | Cost/unit
371 | Fire protection
3713210 | Smoke detector, wired | Ea | 142
3713220 | Smoke detector, battery | Ea | 28.5
3713230 | Fire alarm control panel | Ea | 1490
3713240 | Fire alarm bell | Ea | 80.5
3713250 | Heat detector | Ea | 62.75
3714000 | Fire extinguisher unit, 20 lbs | Ea | 69.5
3714100 | Wet pipe sprinkler system, 1800 Sf | Sf | 3.85
3714200 | Wet pipe sprinkler system, 3200 Sf | Sf | 3.25
3714300 | Dry pipe sprinkler system, 1800 Sf | Sf | 4.75
3714400 | Dry pipe sprinkler system, 3200 Sf | Sf | 4.05
3714500 | Wet standpipe, 6 in | Flor | 6990
3714600 | Dry standpipe, 6 in | Flor | 5850

## ConsEquipment
Costcode | Description | Unit | Cost/unit
114 | Equipment
1141000 | Pickup truck | Day | 9605
1141100 | Pickup truck | Week | 282
1141110 | Scaffolding | Day | 36.4
1141310 | Dump truck, 6 Cy | Day | 255
1141320 | Dump truck, 6 Cy | Week | 770
1141510 | Air compressor, medium | Day | 66.7
1141520 | Air compressor, medium | Week | 199.5
1141530 | Air compressor, large | Day | 140
1141540 | Air compressor, large | Week | 425
1141600 | Air tools, average | Day | 32
1141710 | Generators, 5 Kw | Day | 64
1141720 | Generators, 5 Kw | Week | 192
1141800 | Heaters, salamander type | Week | 109.25
1141910 | Pumps, 50 gpm, submersible | Day | 51.5
1141920 | Pumps, 100 gpm, submersible | Day | 64
1141930 | Pumps, 500 gpm, submersible | Day | 102
1141940 | Pumps, diaphragm pump | Day | 59.8
1142100 | Equipment charge, light | Day | 23.4
1142200 | Equipment charge, heavy | Hr | 57.2
1142300 | Fan/blower | Day | 31.45
1142400 | Dehumidifier, residential | Day | 33.8
1142500 | Dehumidifier, commercial | Day | 85.8
1142600 | Backhoe, 1/3 Cy bucket | Day | 285
1142700 | Bulldozer/tractor 75 Hp | Day | 305
1142800 | Backhoe, track mounted, 1/2 Cy | Day | 525
1142900 | Backhoe, track mounted, 1 Cy | Day | 830
1143200 | Backhoe/loader, rubber tired, 1/2 Cy | Day | 320
1143300 | Backhoe/loader, rubber tired, 3/4 Cy | Day | 380
1144000 | Bulldozer, 75 hp | Day | 452
1144100 | Crane, truck mounted, 15 ton | Day | 545
1144200 | Loader, rubber tired, 1 Cy | Day | 385
1144300 | Loader, rubber tired, 1 Cy | Week | 1150
1144400 | Loader, rubber tired, 2 Cy | Day | 580
1144500 | Loader, rubber tired, 3 Cy | Day | 1030

## Quote
QUOTE
<Work description>
1. Scope of Work. Contractor agrees to furnish all labor, services, materials, installation, supplies, insurance, equipment, tools and other facilities required for the prompt and efficient execution of the work described herein in a professional and workmanlike manner.
2. Quote Amount. Owner agrees to pay Contractor for the strict performance of his work, the sum as indicated above subject to additions and deductions for changes in the scope of work as may be subsequently agreed upon.
3. Payment Schedule. Owner agrees to pay Contractor in progress payments as follows:
Payment #1 - Upon start of project.
Payment #2 - Upon 40% completion.
Payment #3 - Upon 60% completion.
Payment #4 - Upon 80% completion.
Payment #5 - Upon 100% completion.
4. Work Schedule. Contractor shall complete the work as required by the work schedule prepared by the Contractor, which is agreed to be no more than:
<90 days>
from the start date of the project. Work schedule may be amended based on additional work inclusions and deductions and by agreement between the Owner and Contractor.
The parties hereto have executed this Agreement for themselves, their heirs, executors, successors, administrators, and assignees on the day and year written below.
Signed:
Contractor
By: <Contractor Name>
Company: <Company Name>
Title: <Contractor Title> License No: <License No.>
Date:________________________________
Accepted By:
Owner
By: <Owner Name>
Date:________________________________